SwissFEL Operation –
Run Coordinator's Report
Week 21/2021
- Week overview
- Aramis and Athos setup
- Athos two-color setup
- Issues
Thomas Schietinger
  SEM, 31 May 2021

---
Calendar
        Aramis: Bernina (11.2 keV)
Athos:
Maloja
(500–1000 eV
for JF test)
Athos:
Maloja
(two colors:
350&1000 eV)
Athos: Furka
monochromator
commissioning
Athos: Furka
optics transport
measurements
Setup

---
Week overview (Aramis)
 ● Photon energy (keV)
 ● Photon pulse energy (µJ)
Mon, 24-May, 08:00 – Mon, 31-May, 08:00
Gas detector
failure
11.2 keV for Bernina
Ch.Arrell
doing scans
Setup
Optimizer running
Monday
Tuesday
Wednesday
Thursday
Energy change
by users
Increasing
instability in
pulse energy –
gun laser
alignment drifting?
SINSB03
klystron arcs
Friday
Saturday
Sunday

---
Week overview (Athos)
 ● Photon energy (keV)
 ● Photon pulse energy (µJ)
Mon,24-May, 08:00 – Mon, 31-May, 08:00
1 keV for Maloja
880 eV
Setup
Maloja:
Jungfrau tests
Maloja/BD:
Two-color setup
Setup for Furka
monochromator
Monday
Tuesday
Wednesday
Thursday
Furka:
Monochromator
commissioning
700–800 eV
Restore
1 keV / 1 mJ
Furka:
Optics measurements
SINSB03
klystron arcs
Friday
Saturday
Sunday

---
Aramis setup
N. Hiller, D. Voulot, E. Prat
- Got a pretty good machine from the previous (MD) week – thanks!
- More or less standard program of machine checks and settings:
  - Quadrupole cycling
  - Bunch length adjusted from 20 fs to 25 fs
  - Reducing energy spread with BC1 and dechirper
  - Symmetrization of horns with X-band
    (only partially successful)
  - Measure and correct dispersion
  - Bandwidth optimization with X-band
    and dechirper
- Alcor (gun laser) re-alignment on
  capillary and aperture – helps a lot!
- Final bandwidth optimization: between
  1.3 and 1.4 per mil.
- FEL pointing, feedback running
  on Bernina PBPS053 throughout
  the week.

---
Athos setup
N. Hiller, D. Voulot, E. Prat
- Again good performance level from the previous (MD) week, but some losses.
- Improvement of beam quality / reduction of losses:
  - Matching quads
  - Upstream quads and sextupoles
  - Horizontal optics in switchyard...
- Mizar (gun laser) re-alignment on capillary and aperture – again helps a lot!
- Two-color setup: next slide!

---
Athos
two-color setup
K1
K2
courtesy E. Prat, E. Ferrari
- Split-undulator configuration: different K values in two different undulator segments (before and after the chicane) result in two colors. Two variants:
- Whole bunch (un-tilted beam – let the whole bunch lase twice):
  - Easier to set up, longer pulses, correlated operation, not possible to have negative or zero time delay
  - Demonstrated 990 eV / 350 eV (and 500 eV): ~100 µJ with both colors.
  - Ready for operation.
- Fresh slice (tilted beam – let a different part of the bunch lase in each segment):
  - More difficult to setup, shorter pulses, uncorrelated operation, negative and zero time delays are possible.
  - Demonstrated with dechirper (nonlinear tilt) and dispersion (linear tilt) around 540 eV.
  - Few 10s of µJ per color, with short pulse (<10 fs).
  - Limited by losses at the end of the line.
  - Needs consolidation.
- Measured spectra in Maloja and performed delay scans with both setups.
Betatron
oscillation
1st pulse
2-color chicane: Delay + Alignment
Tilted Beam
Adjustable Delay

---
Fresh-slice two-color lasing in Athos (dispersion)
No lasing
Tail lasing
Head lasing
Two colors
courtesy E. Prat, E. Ferrari

---
Two colors in Athos-Maloja!

---
Energy change by users
D. Voulot
New panels available for users to change energy:
- Athos: K value only
  - Used by Rolf and Ulrich for Furka.
  - Unfortunately stopped working on Saturday.
  - Work around with PShell script (old method).
- Aramis: energy feedback (ECOL, with scan
  option) and K value
- Available from
  SF Launcher → Operations / Procedures
Checkbox for
debugging only!

---
SATCB01 beam test
D. Voulot
- Basic setup for beam done by LLRF on 19 May (Z. Geng, R. Zennaro)
- On Tuesday first use by operations. Acceleration/deceleration to up to 50 MeV, phase and amplitude calibration with beam.
- Accidentally left on beam, leading to wrong energy values e.g. for photon energy evaluation.
  - But those numbers were wrong anyway due to a bad RF calibration from the previous weekend.
ELOG 19847

---
Issues
Specific events (red = downtime):
- Monday, 18:40: S10CB03 vacuum measuring gauge fails, will need a replacement (can wait until maintenance window).
- Tuesday, 4:00: SINXB failure due to vacuum problem.
- Tuesday, 12:00: two BPMs in S10CB02 do not receive triggers. Faulty fan-out card of the event system needed to be replaced.
- Wednesday, 13:40: gas detector Aramis fails – power supplies needed a restart.
- Wednesday, 22:00: Athos losses after accidental mismanipulation of K values by Maloja – abrupt changes in K values lead to abrupt orbit kick corrections, which can give rise to losses.
- Wednesday/Thursday: realization that RF calibration from the weekend was wrong (some machine energy values assumed by optics tools etc. wrong by about 60 MeV). Will revert to previous calibration today.
- Sunday, 12:00: SINSB03 klystron arcs. Solved by reducing modulator voltage (details in RF ELOG 5704).
- Sunday evening/night: Increasing instability in Aramis pulse energy – probably due to drift in gun laser alignment (capillary and aperture), to be checked today.
Recurring / long-term issues:
- SATUN08 girder seems to move by itself… (to be looked at!)
- SATUN quad movers are a long-standing problem – who will address it?
- MPS does not stop the beam when SATUN14-MBND ist cycled (two-color chicane).
- SATUN09 LLM (channel 6) gives strange readings – to be checked. As a quick fix, lowered PMT voltage on that LLM on Thursday morning (G.L. Orlandi).

---
Conclusion
- Overall a very calm week with few interruptions and issues.
- Highlight: two-color operation in Athos!
- Many thanks to:
  - Nicole Hiller and Didier Voulot for giving me a thorough control room refresher!
  - Eduard Prat for excellent beam dynamics support.
  - Laser group for investing time in improving gun lasers – crucial for lasing performance.
  - Chris Arrell and Pavle Juranic for giving prompt and proactive support on spectrometers and gas detectors.
  - All system experts and coordinators for keeping the systems so stable and dependable!