SwissFEL Operation –
Run Coordinators' Report
Week 27/2021
- Week overview
- Aramis and Athos setup
- Issues
Thomas Schietinger (Mon–Fri), Christoph Kittel (Sat–Sun)
BD support: Eduard Prat
  SEM, 12 July 2021

---
Calendar
Bernina Exp.
(11.0 keV)
PSSS
studies
Bernina Experiment (11.0 keV)
        Athos: Maloja commissioning
Setup

---
Week overview (Aramis)
 ● Photon energy (keV)
 ● Photon pulse energy (µJ)
Mon, 05-Jul, 08:00 – Mon, 12-Jul, 08:00
11.3 keV (Setup)
Energy changes and
large bandwidth for
PSSS studies (C. Arrell)
Setup
10.95 keV for Bernina
700–800 µJ
9.95 keV for Bernina
Monday
Tuesday
Wednesday
Thursday
Gas detector
controls problem
(spurious readings!)
9.95 keV
Friday
Saturday
Sunday

---
Week overview (Athos)
 ● Photon energy (keV)
 ● Photon pulse energy (µJ)
Mon, 05-Jul, 08:00 – Mon, 12-Jul, 08:00
Setup
820 eV (Setup)
540 eV for Maloja
Reason for decay?
Aramis optimization?
Setup of
short-pulse mode
~500 µJ
Monday
Tuesday
Wednesday
Thursday
Short-pulse mode
(beam tilt with
dispersive quad)
Friday
Saturday
Sunday

---
Machine setup
E. Prat, E. Ferrari, N. Hiller, T.S.
- Aramis setup:
  - Photon energy already at 11.3 keV
  - Standard checks…
  - BW optimization: dechirper, compression setup (X-band amplitude), phase shifters
    - Get down to about 1.55 per mil at 700 µJ
    - Later in the week closer to 1.7 per mil with 800 µJ (similar spectral density)
  - Tuesday morning energy changed to 10.94 keV
  - Large bandwidth for PSSS studies (C. Arrell): at 10 keV little success with dechirper and off-crest acceleration in linac-3… in the end change compression in BC1 to reach about 2.5 per mil bandwidth (Athos not affected thanks to seperate compression feedback on bunch 2).
- Athos setup:
  - Monday: Setup with standard bunch length at 820 eV, loss mitigation with dechirpers (can run at 100 Hz!)
  - Tuesday: Move to target energy of 540 eV
  - Thursday: establish setting giving shorter photon pulses with beam tilt from dispersive quadrupole (next slide).

---
Short pulse for Athos
E. Prat, E. Ferrari
- Short photon pulses by horizontally tilting the beam with a dispersive quad in SATCL01.
- Reduction of photon pulse length (and pulse energy) by a factor five.
- Verified with post-undulator dechirper:
Lasing with tilted beam
Tilted beam, lasing turned off
Lasing with untilted beam
Electron
energy
entire
bunch
lasing
lasing
~130 µJ
~500 µJ
(see ELOG 20482 for details)
Time

---
Issues
Instantaneous events:
- Wednesday, 5:00: S10CB09 takes almost an hour to recover
- Wednesday, 16:45: unexplained drift in photon energy caused by drift in electron energy caused by something upstream (not fully understood yet).
- Thursday, 14:30: BLM IOC needed a reboot – short interruption of beam in accordance with users.
- Saturday, 4:40: gas detector controls problem leads to spurious readings. Several hours until fixed (operators not sure which pikett to call).
- Saturday, 14:00: losses in SATDI01 necessitate an adjustment of the Mizar arrival time.
Other problems:
- Instability in Mizar gun laser – fixed by capillary adjustment on Tuesday.
- Controls problem with undulator K values (discrepancy between set and read values…) – under investigation.
- Sometimes increased losses in Athos when Aramis bunch is not present.
  - Still preferred over Aramis stopping Athos…