## Slide 1: SwissFEL Exchange Meeting Machine Report Week 48/2022
Zheqiao Geng, SEM, 05 Dec. 2022

## Slide 2: SwissFEL Operation Calendar
50 Hz operation

## Slide 3: User Requests and Machine Setup
Aramis
  Alvra: 11.5 keV, pink beam, standard pulse length (25 fs rms), as many photons as possible, no requirements on BW (Tuesday to Saturday)
    S10CB03 jitter mitigated by increasing klystron power
    Alcor laser optimization brought the photon pulse energy > 1 mJ
  Bernina: 11.5 keV, same req. with Alvra (Sunday)
Athos
  Furka: 850 eV, 710eV, 930 eV and 540eV C+, 50Hz, pulse energy as much as possible, smallest BW as possible

## Slide 4: Photon Historical Data

## Slide 5
S30CB05 modulator switch unit failure – caused > 8 hours downtime in Arams. We managed to keep bunch2 running
Technical Issues