## Slide 1: 7904 update
Leonardo Sala :: AWI :: Paul Scherrer Institut
AWI Department update meeting 2023.03.06 / PSI

## Slide 2: RA updates
Slurm resources management:
plan to streamline current usage limits
go simple and make complex in small steps, if needed
New storage
delivered, some issues with installation
planning the migration from old unsupported storage blocks, some downtime might be needed
Overall, available storage space might decrease (100-300 TiB)
Data cleanup
semi-automatic efforts to clean up Work area

## Slide 3: SLS / SLS2 updates
Dark time and WSLA server room
no clear timeline for eventual power cuts
effects on SLS and RA operations still to be understood
Samba wide_links migration report
some isolated issues, but overall good
Compute node replacement
MX done - also with Slurm test cluster and gitlab-driven deployment
Tomcat - testing
cSAXS next
BEC
Two test workstations configured and deployed (cSAXS and X07MA)

## Slide 4: SwissFEL
Storage architecture discussions
gathered feedback from beamlines and developers
sent possible scenarios back
Sven will go and discuss with the various beamlines
after this, we'll see at what possible solutions are available with the current budget
Compute nodes replacement
servers are aging (7 years)
current historical usage is low
discussions with beamlines and developers on their needs and next steps
current proposal: reduce the number of available cores
Archiving / cleanup
automatic archiving for all beamlines but Bernina (waiting for feedback)
manual cleanup by us (for now)

## Slide 5: General
Tape retrieve to CSCS object storage
currently in QA, soon to be released
High-speed DAQ networks
various tests performed at SLS and SwissFEL for IP over Infiniband
now able to get 11 GB/s on an EDR link, with minimal tuning

## Slide 6: Questions?