## Slide 1: Advances in Stretched Wire Tomography at Kyma
Peter Topolovšek, Physicist
IMMW #23, Bad Zurzach, Switzerland
10.10.2024

## Slide 2: About Kyma
Kyma Tehnologija d.o.o.
(Sežana, Slovenia)
Kyma S.p.A.
(Elettra Sincotrone Trieste, Italy)

## Slide 3: Core products
Design, assemble, tune various IDs
  LPU, EPU, IVU
  Wigglers, Phase shifters
Measurement benches
    Helmholtz Coil System
    Flip coil and Hall probe bench
    Software solutions
    Tomography

## Slide 4: Tomography
Imaging by sections
“Looking” at something from different directions can give information about the “internals” of it
Medicine: Computed Tomography
  X-ray scans in different directions can yield a 3D image
Mathematical description:
  Radon and inverse Radon transform
  Filtered back-projection transform
    FT → filtering → IFT → Back-projection transform

## Slide 5: Tomography
Filtered back-projection formula
Radon, Fourier, Back-projection transform
filter transform
Radon
transform
Back-projection
transform
Filtered back-projection
formula
SMEARED

## Slide 6: Stretched Wire Tomography @ Kyma
Linear and rotary stage
  Stepper motors and controllers
  Induced voltage measurement during linear motion
  Rotary steps between measurements
Keithley 2182A
Single Cu wire loop (100 μm)
Raspberry Pi
Manual wire height adjustments
Compact and cost-efficient system

## Slide 7: Past results
“manual” sinogram correction

## Slide 8: Streched Wire Tomography @ Kyma
Uncorrected

## Slide 9: Streched Wire Tomography @ Kyma
“Magnetic center” detection algorithm
Calculate the second field integral
Find and relocate the half value of second field integral
Shift each projection of the sinogram accordingly

## Slide 10: Streched Wire Tomography @ Kyma
“Magnetic center” correction

## Slide 11: Streched Wire Tomography @ Kyma
Appearance of ripple-like image artefacts

## Slide 12: Streched Wire Tomography @ Kyma
Modifying sinogram before inverse Radon transformation

## Slide 13
Ripple pattern investigation
Magnet 1
Magnet 2
In the center of rotation
Off-center of rotation

## Slide 14: SWT – Filter comparison (complete z-scale)
Hamming
Shepp-logan
Hann
Cosine
Ramp
None

## Slide 15: SWT – Filter comparison (limited z-scale)
Hamming
Shepp-logan
Hann
Cosine
Ramp

## Slide 16: SWT – Background assessment
Issue: presence of specific frequencies in the background signal

## Slide 17: SWT – Measurement “repeatability”
Repeating measurement (10x) of one of the magnets, just above its surface

## Slide 18: SWT – Reducing number of measurements by angle
N=360
N=180
N=72
N=36
N=18
t=15min
t=1h
t=5h

## Slide 19: Recap of stretched wire tomography system
Alternative method to visualize in-plane properties of magnetic flux density component
  Measurements close to magnet surface
  0.2mm spatial resolution
  Repeatability below < 1%
Potential uses:
  2D magnetic flux density images of aged or degraded magnets (mechanical or irradiation damage)
  Learning tool (tomography in general, direct imaging magnet’s properties)
Current limitation: time-consuming measurement
Future improvement:
  System synchronization, motor tuning
  Simultaneous multi-channel measurements
Acknowledgments:
Mirko Kokole
Žan Mahnič
Andrej Nabergoj
Jure Počkar