## Slide 1: Single-quadrupole-magnet scan to measure the slice emittance of electron beams
Tyler Schowalter :: Paul Scherrer Institute
Tyler Schowalter Progress Report on 24.10.2023

## Slide 2: Contents
Background on symmetric single quadrupole scans
Projected emittance measurement
  Elegant and analytical calculations
  Emittance verification
Slice emittance measurement
  Proposed lattice
  Elegant and analytical calculations
  Test results

## Slide 3: Background
Importance of measuring transverse beam properties:
  Low normalized emittance makes smaller and more efficient FEL accelerators feasible
  Measuring the longitudinally-resolved or slice properties is fundamental for FELs
Typical methods for measurement:
  Multi-screen (FODO) scans:
    Use a series of profile monitors for one optical setup
    Requires more components and typically longer beamlines
  Multi-optics (specifically multi-quad approach):
    Use a series of quadrupole-magnets to vary the optics at a single profile monitor
    Less components, more flexible, and typically more compact

## Slide 4: Overview
Overall Goal: Expand the symmetric single-quad scan to measure slice parameters
Works by changing optics at the quad position such that the phase advance varies much more in the measurement direction than in the streaking plane
The optimum measurement setup was calculated analytically and then tested at the injector and after bunch compression experimentally
Benefits over Multi-Quad Scan:
  Only one quadrupole is incrementally scanned (in principle less prone to error)
  More intuitive
  Smaller magnetic strengths
  Phase advances and β functions can be analytically calculated and easily changed

## Slide 5: Tools Used
A variety of tools were used for this project:
  Elegant
    Software designed to simulate accelerator lattices
    Used to simulate optics measurements
  sdds
    File structure used by elegant
    Provides many options for analyzing and selecting data
  Python
    Many modules (pandas, numpy, scipy, pathlib, sympy, matplotlib, etc.)

## Slide 6: SQS Projected Emittance Measurement
Initial Twiss Parameters
Relation between quad strength and phase advance
Beta function
L
β0 = 15
α0 = 1.385
L = 10.83

## Slide 7: SQS Slice Emittance Measurement
βx = 15
αx = 1.385
L = 10.83

## Slide 8: Verification of the SQS Calculation (Analytical)
Transfer matrices
  Drift space
  Quadrupole Magnet (for )
  Thin-lens approximation (for )

## Slide 9: Verification of the SQS Calculation (Analytical)
Matrix Multiplication

## Slide 10: Obtaining the Formulas

## Slide 11: Emittance Verification
Confirms the analytical approach by using the normalized emittance and the previous calculations to find the normalized emittance again

## Slide 12: Verifying the Equations for Slice Emittance
Comparing the thin-lens approximation to the equations, there is no difference
The equations are therefore valid to calculate the beam parameters
β0,x = 26.37
α0,x = 1
L = 26.37 m

## Slide 13: Proposed Lattice Summary
The proposed lattice to be used for this measurement was initially contained within the line BC1
Due to complications with the optimization, the lattice was revised to extend another ~100 m out to the S10MA01 section
Utilizes 27 matching quadrupoles to create the proper conditions for the scanning quadrupole in section S10BC01, L = 26.37 m from the screen in S10MA01
L
SINDI01.RTDS100
SINDI02.MQUA020 –
S10BC01.MQUA060
S10BC01.MQUA080
S10MA01.DSCR090

## Slide 14: Slice Emittance Measurements for the Proposed Lattice
The program runs through different alpha (and coincidentally beta) values to find the minimum optimization value
Many solutions found, βx = 26.37, αx = 1, factor of 10 was chosen

## Slide 15: Analytical Verification of Previous Results
Using previous analytical calculations for slice emittance, the results from elegant were confirmed by plotting the optics
β0,x = 15
α0,x = 1.385
L = 26.37 m

## Slide 16: Quadrupole Strength Variation
Very little variation in the majority of the matching quadrupole strengths

## Slide 17: Testing the Technique on the Beamline
Projected measurement
X (mm)
Y (mm)
15°
165°
45°
25°
35°
55°
65°
75°
85°
95°
105°
115°
125°
145°
135°
155°
Mismatch = 1.08
Mismatch = 1.01

## Slide 18: Testing the Technique on the Beamline
Slice emittance measurement
X (mm)
Y (mm)
t (s)
15°
30°
45°
60°
75°
135°
90°
105°
120°
150°
165°
Core Optics

## Slide 19: Testing the Technique on the Beamline
Slice emittance measurement
Slice Betas
Slice Phase Advance
Slices 7-13

## Slide 20: Conclusions
Test results show success in the implementation of this technique
  Mismatch is low in x
Technique is limited in its application
  Needs enough space between the transverse deflector and screen
Technique has many benefits
  Only one quadrupole is scanned
  More intuitive matching process
  Simple equations

## Slide 21: Acknowledgements
Thank you to the Paul Scherrer Institut, without whom this project would not be possible
Special thanks to Eduard Prat Costa, Philipp Dijkstal, and Sven Reiche for their help understanding the background for this project and the techniques used in it

## Slide 22: References
Dattoli, G., Sabia, E., Ronsivalle, C., Del Franco, M., & Petralia, A. (2010). Slice emittance, projected emittance and properties of the Sase Fel Radiation. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, 671, 51–61. https://doi.org/10.1016/j.nima.2011.12.099
Roßbach, J., & Schmüser, P. (1993). Basic course on accelerator optics. DESY.
Prat, E. (2014). Symmetric single-quadrupole-magnet scan method to measure the 2D transverse beam parameters. Nuclear Instruments and Methods in Physics Research Section A: Accelerators, Spectrometers, Detectors and Associated Equipment, 743, 103–108. https://doi.org/10.1016/j.nima.2014.01.021
Prat, E., Aiba, M., Bettoni, S., Beutner, B., Reiche, S., & Schietinger, T. (2014). Emittance measurements and minimization at the Swissfel Injector Test Facility. Physical Review Special Topics - Accelerators and Beams, 17(10). https://doi.org/10.1103/physrevstab.17.104401