## Slide 1: SM18 magnet test infrastructure upgrades
F. Mangiarotti, G. Willering, J. Feuvrier and the TE-MSC-MQA team
2025.03.31

## Slide 2: Acknowledgements
The vertical bench upgrades I will discuss are underway thanks to these people:
TE-CRG: O. Pirotte, N. Guillotin, R. Mauny, P. Borges de Sousa, T. Koettig
TE-MSC: C. Petrone, L. Fiscarelli, L. Boudin, N. Bourcey, K. Geiger, P. Schwarz, and the MQA section
SY-EPC: F. Daligault, H. Thiessen
EN-MME: L. Gentini, M. Timmins & design office, J.-M. Malzacker & main workshop
EN-EL: M. Marreiros, A. Jacob
EN-ACE: A. Kosmicki, A. Tursun
SCE-SAM: F. Cesca, M. Lamrani, R. Fernandez
And partially supported by the HFM program

## Slide 3: SM18 building layout
Horizontal magnet test benches
IT String test bench
Vertical test benches
Cryogenics
Superconducting RF cavities test benches

## Slide 4: Horizontal test benches: fully upgraded for HL-LHC
Status of the test benches:
5 benches commissioned
3 benches already tested HL-LHC objects
Magnetic measurements shaft garage finalized
Expected workload in the next 3 years:
29 HL-LHC cryomagnets
9 SC link systems
7 LHC dipole cryomagnets

## Slide 5: Vertical test benches: testing for HL-LHC and HFM (and others)
Five vertical cryostats:
Cluster D (left picture), mostly used for HL-LHC correctors, expected to be used for HFM “long” magnets
HFM (right picture), mostly used for large demonstrators for HFM and other projects
CTV (variable temperature cryostat): used mainly for HTS magnets and (HL-)LHC diodes
Siegtal: mainly used for small HFM Nb3Sn magnets and LHC correctors
Long: mainly for LHC quadrupoles

## Slide 6: Vertical bench statistics
(HL-)LHC and HFM account for ~85 % of the test station occupancy
We can do ~40 test runs per year, which translates to 20-30 item tests per year
Not specifically accounted for: tests done as part or in parallel of a magnet test
New magnet protection methods: FQPC, ESC, eCLIQ
Technology tests: small splice samples
(see also SMTF4 presentation)

## Slide 7: Vertical test benches capabilities and upgrades
 | G-Feedbox | Long | HFM | CTV | Siegtal | Cluster D
Depth [m] | N/A | 0.55 | 2.25 | 1.30 | 1.25 | 0.85
Diameter [m] | N/A | 3.35 | 1.45 | 0.45 | 0.75 | 5.35
Power circuits | 20 kA | 20 kA, 600 A | 20+10 kA, 600 A | 20 kA, 600 A | 20 kA, 600 A | 30 kA, 2+2 kA
Cryogenic conditions | 4.5 K or GHe ~1.5 bar flow | 1.9 or 4.5 K LHe bath | 1.9 or 4.5 K LHe bath | 4.5 K LHe or GHe bath | 1.9 or 4.5 K LHe bath | 1.9 or 4.5 K LHe bath
Upgrades | Reconnection |  | GHe bath, SHe flow | 10 kA connection | 10 kA connection | Anticryostats
SHe: supercritical helium
Flow: these stations have vacuum outside the helium piping

## Slide 8: Overnight testing
Already implemented

## Slide 9: Overnight testing
Procedural update to allow overnight testing:
After magnet is trained
Trying to avoid quenches
Barriers and flashing lights installed locally
Outcome: greatly increased test possibilities
11 days continuous testing a 11 T in vertical benches
Routinely powering 3x20h in horizontal benches

## Slide 10: Helium gas bath in HFM cryostat
Already operational

## Slide 11: Helium gas bath in HFM
Cool down, warm up: standard process
Operation: empty cryostat and warm up with 20-30 K helium gas flow through the magnet
Aluminum cooling layer
Cooling pipe
MgB2 conductors

## Slide 12: Helium gas bath in HFM
Magnet on insert
Current leads sub-cooled with additional Liquid helium

## Slide 13: Helium gas bath in HFM
Gaseous helium circuit highlighted.
Inlet (left) with a T for a temperature sensor for control.
Outlet (right) above the lambda plate.
The “empty” volume below the lambda plate is filled with helium gas, and at the bottom of the cryostat a little bit of liquid helium
 the gas flow is used to warm up the magnet to 20-30 K

## Slide 14
Powering at ~25 K
5 april 2024
Good efforts by cryo operation for stable 25 K in the coil and control of leads temperature at ~20 K.
Temperature measurement in coil also improved.
Temperature rise after fast current decay
Example test results

## Slide 15: Feedbox for cryostated magnets
Expected for Q3 2025

## Slide 16: Feedbox for cryostated magnets
Test station cryogenically disconnected some years ago, to be reconnected this summer for new projects.
Connection to 20 kA circuit
Liquid and gas helium outputs, Nb-Ti busbars
Magnet test expected Q4 2025

## Slide 17: New Cluster D insert & anticryostats
Expected for Q4 2025

## Slide 18: Cluster D new insert & anticryostats
Anticryostats: collaboration with Uppsala University in the frame of the HFM Program
External diameter: 48.3 mm (for 50 mm bore magnets)
Internal diameter: 45.0 mm
Length below lambda plate: 3.46 m
Temperature control: four independent heaters, plus N2 flushing from the top while the anticryostat is empty
New insert developed for the anticryostats
Manufacturing ongoing, first few pieces already arrived
Supports single and double aperture magnets (maximum 230 mm between apertures)
Expected commissioning: Q4 2025

## Slide 19: Cluster D anticryostat installation process (1/4)
+ 9100
+ 8500
+3300
+0

## Slide 20: Cluster D anticryostat installation process (2/4)
+ 9100
+ 8500
+3300
+0

## Slide 21: Cluster D anticryostat installation process (3/4)
+ 9100
+ 8500
+3300
+0

## Slide 22: Cluster D anticryostat installation process (4/4)
+ 9100
+ 8500
+3300
+600
+0

## Slide 23: 10 kA connection to Siegtal and CTV
Expected for Q1 2026

## Slide 24: 10 kA connection to Siegtal and CTV
Siegtal
CTV
HFM
New load switch (below ground level)
New load switch, cryogenic pipes re-routing, busbar split

## Slide 25: 10 kA connection – initial situation
10 kA PC
↓ 20 kA PC

## Slide 26: 10 kA connection – final goal
10 kA circuit
20 kA circuit
10 or 20 kA circuit
2 new load switches

## Slide 27: 10 kA connection to Siegtal and CTV – status
Work in the trench finished, except for the new WCC (pink and cyan)
Work under the green platform:
New load switch received
Cryogenic pipes re-routing this summer
New WCC and busbar cutting by end of 2025 – early 2026

## Slide 28: Supercritical helium insert
Expected for Q2 2026

## Slide 29
From P. Borges de Sousa
https://indico.cern.ch/event/1471305/

## Slide 30: Supercritical helium insert for HFM cryostat

## Slide 31: Supercritical helium insert
Main features of the new insert:
Magnet cooled by helium at ~3-5 bar, 4.5-50 K in a closed loop
Pressure provided by a cryofan. Heat exchange with Liquid helium from “standard” SM18 infrastructure
Operation in vacuum (~10-6 mbar)
Copper and HTS current leads up to 20 kA.
Thermal screen and current leads cooled by an additional helium gas circuit (1.3 bar)
Tentative available test area: 1.4 m diameter, 2.5-3 m depth
Conceptual design ongoing
Expected commissioning: Q2 2026.

## Slide 32: Summary: SM18 vertical test benches capabilities
 | G-Feedbox | Long | HFM | CTV | Siegtal | Cluster D
Depth [m] | N/A | 0.55 | 2.25 | 1.30 | 1.25 | 0.85
Diameter [m] | N/A | 3.35 | 1.45 | 0.45 | 0.75 | 5.35
Power circuits | 20 kA | 20 kA, 600 A | 20+10 kA, 600 A | 20 kA, 600 A, 10 kA | 20 kA, 600 A, 10 kA | 30 kA, 2+2 kA
Cryogenic conditions | 4.5 K or GHe ~1.5 bar flow | 1.9 or 4.5 K LHe bath | 1.9 or 4.5 K LHe bath GHe bath (10-50 K) SHe flow (4.5-50 K, 3-5 bar, 6 g/s) | 4.5 K LHe or GHe bath | 1.9 or 4.5 K LHe bath | 1.9 or 4.5 K LHe bath With Anticryostat
In red: upgrades ongoing or recently finished