## Slide 1: Neutron Instrumentation
Design, Criteria and Implementation
Nicolai Lindaa Amin
PSI, 31/7 - 2024

## Slide 2: Neutrons in Condsensed Matter Physics
Neutrons vs. X-Rays
5 preferential components
  Energy and Wavelength
    1-6 Å & 1-25 meV
  Isotopes and light elements
  Quantative experiments
    Weak interections
  Penetration depth
    Sample & environments
  Magnetism
    Magnetic moment

## Slide 3: McStas

## Slide 4: McStas – Monte Carlo Simulations of Neutron
Monte Carlo simulations
  LLN
Ray tracing algorithms
Models of Complex behavior

## Slide 5: McStas – Monte Carlo Simulations of Neutron
Monte Carlo simulations
  LLN
Ray tracing algorithms
Models of Complex behavior
  Based on components and how they are coded

## Slide 6: McStas – Monte Carlo Simulations of Neutron
Monte Carlo simulations
  LLN
Ray tracing algorithms
Models of Complex behavior
  Based on components and how they are coded
  Not always coded correctly

## Slide 7: Instrument Design in McStas
Primary Use:
Instrument design and benchmarking

## Slide 8: Instrument Design in McStas
Primary Use:
Instrument design and benchmarking
Why use numerical design over analytical calculations?
Source
Sample
Mosaicity
Dimensions and divergence

## Slide 9: WARP – Wide-Angle high-Resolution Prismatic spectrometer with polarization option

## Slide 10: WARP – Wide-Angle high-Resolution Prismatic spectrometer with polarization option

## Slide 11: Current ILL Measurements

## Slide 12: Current McStas component design
Curved Monochromator with mosaicity
Current design
Flaws
Full array causes problems

## Slide 13: Current McStas component design
Curved Monochromator with mosaicity
Current design
Flaws
Full array causes problems

## Slide 14
Thank you, Questions?