## Slide 1: QNeutron Measurement of the Neutron Electric Charge using Grating Interferometry
Marc Persoz University of Bern PSI2025 8 sept. 2025

## Slide 2
QNeutron | General context
Marc Persoz | 8 sept. 2025 | PSI2025
Non-zero neutron electric charge
Charge quantization in the SM
Neutrality of atom and bulk matter
Baryonic asymmetry of the universe
Current experimental upper limit:
Baumann et al., Phys. Rev. D 37, 3107 (1988)
2 orders of magnitude improvement:
in picometer scale
Piegsa, Phys. Rev. C 98, 045503 (2018)
Interaction with an external E-Field (top view)
Fundamental Precision Physics with Neutron at Uni Bern
Neutron interferometry

## Slide 3
QNeutron | Talbot-Lau Interferometer
Marc Persoz | 8 sept. 2025 | PSI2025
G0 : Source grating
G1 : Diffraction grating
G2 : Analyzer grating
Detector
Cold neutron beam
Talbot-Lau condition :
3 absorption gratings with period p
Cold neutron beam with wavelength λ
Distance between the gratings LG
TOP view
Talbot length :

## Slide 4
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
Grating period:
Peak wavelength:
G2: Analyzer
G1: Diffraction
G0: Source
Neutron beam
Detector
Diffraction is negligible
Straight line trajectories
Monte-Carlo simulation

## Slide 5
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
G2: Analyzer
G1: Diffraction
G0: Source
Detector
Grating period
Neutron absorbed
Random slope and starting point

## Slide 6
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
G2: Analyzer
G1: Diffraction
G0: Source
Detector
Grating period
Neutron reaches the detector

## Slide 7
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
G2: Analyzer
G1: Diffraction
G0: Source
Detector
Grating period

## Slide 8
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
G2: Analyzer
G1: Diffraction
G0: Source
Detector
Grating period

## Slide 9
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
Grating period
Neutron
beam
G2: Analyzer
G1: Diffraction
G0: Source
Image of G1 at the position of G2 for the entire spectrum !
Detector

## Slide 10
Ballistic Regime | Working Principle
Marc Persoz | 8 sept. 2025 | PSI2025
Grating period
Transverse scan with
fringes visibility :
Detector
G1
G2
G0
Nmax
Nmin

## Slide 11
Ballistic Regime | Measurement Principle
Marc Persoz | 8 sept. 2025 | PSI2025
Transverse E-field between G1 and G2
Detector
<
G2
G1
G0
Intensity
p
2p
working point : steepest slope
Identification of the working point (most sensitive position of G2)
Shift might be caused by external sources (temperature, drifts, …)
E-field
Shift of the intensity modulation
Application of a transverse E-field

## Slide 12
Ballistic Regime | Two-beam method
Marc Persoz | 8 sept. 2025 | PSI2025
Beam exit
Comparisons between LEFT and RIGHT beam spot with +/- polarities
Intensity
p
2p
Shifts in opposite directions
Detector
<
HV electrode
Ground
Ground
G2
G1
G0
2 beam spots with anti-parallel E-field

## Slide 13
QNeutron calendar
Marc Persoz | 8 sept. 2025 | PSI2025
QNeutron started in Sept 2020
8 Characterization beam times at PSI-BOA (80 days) - From to
1 Characterization beam time at ILL-PF1B in 2023 (30 days)
Neutron electric charge measurement at ILL-PF1B in 2024 (20 days)
Installation at ILL PF1B beam line:

## Slide 14
QNeutron at ILL | PF1B beamline
Marc Persoz | 8 sept. 2025 | PSI2025
G0
G1
G2
Chopper in casemate
Neutron Cascade detector
Neutron beam
A2
6-meters Al profile
A0
Time-of-Flight characterization in Dec 2023

## Slide 15
Grating characterization
Marc Persoz | 8 sept. 2025 | PSI2025
10 cm
60 mm
Gadolinium on sapphire
Grating parameter:
Absorber thickness |
Gadolinium thickness:

## Slide 16
Marc Persoz | 8 sept. 2025 | PSI2025
Preparation for electric charge measurement:
Alignment of best setup
Remove chopper - Ballsitic regime with white beam - Flux increased by 200
Pump down pipes ( mbar)
Add radiation shielding - Lead and concrete around the setup
Temperature shield
QNeutron | Setup for Electric Charge Measurement

## Slide 17
Marc Persoz | 8 sept. 2025 | PSI2025
Electrode stack in vacuum pipes
QNeutron | Setup for Electric Charge Measurement
500 mm
35 mm
HV
ground
2.5 m

## Slide 18
Marc Persoz | 8 sept. 2025 | PSI2025
QNeutron | Measurement Procedure
G2 set at working point
Compare L and R with polarities + and -
Evaluation of double ratio:
Intensity modulation for L and R beamspots
Polarity reversal | +/- 35 kV/cm
+
+
+
+
-
-
-
-
0
10 x 20s at each polarity
Measure for each pair
Repeat over ~24 hours
6 cycles combined (84 hours)

## Slide 19
Marc Persoz | 8 sept. 2025 | PSI2025
QNeutron | Measurement Procedure
Result from cycle 1
1200 values of double ratio in 13h
weighted mean value ( ) :

## Slide 20
Marc Persoz | 8 sept. 2025 | PSI2025
Conversion to beam deflection
Final result for cycle 1 (13h) :
QNeutron | Measurement Procedure
Apply shift in the preliminary scan
Corresponding change of

## Slide 21
Marc Persoz | 8 sept. 2025 | PSI2025
Current upper limit :
Baumann et al., Phys. Rev. D 37, 3107 (1988)
1st QNeutron result (6 cycles = 84 h) :
Possible improvements (ballistic regime):
Electric field : kV/cm x 3
Detector efficiency: % x
Eff. measurement time: days x
Interaction length: m x 4
factor 100 improvement
Need long, pulsed cold neutron beam line with high intensity
QNeutron | First Result
Diffraction regime also limited at PF1B

## Slide 22
QNeutron | Outlook
Marc Persoz | 8 sept. 2025 | PSI2025
Future brightest cold pulsed neutron source in the world
Extended setup in the diffraction regime
ESS, Lund - 2021
ANNI beam line @ ESS to reach e

## Slide 23
QNeutron | Outlook
Marc Persoz | 8 sept. 2025 | PSI2025
ESS, Lund - 2021
Thank you !
Fundamental Neutron and Precision Physics group in 2024
Special Thanks : Uwe Filges Torsten Soldner
Setup currently installed at BOA – PSI | 17 days beamtime
Thank you !

## Slide 24
Talbot-Lau | 2 operating modes
Marc Persoz | 8 sept. 2025 | PSI2025
Interferences with Talbot-Lau formalism:
Wavelength dependant (only specific )
Needs to know the neutron spectrum (TOF)
Reduced statistics in a continuous source
Bigger gratings period such as:
NOT Wavelength dependant (all )
Needs to know the mean wavelength
Ideal for a continuous neutron source
Diffraction mode
Ballistic mode

## Slide 25
Marc Persoz | 8 sept. 2025 | PSI2025
Intensity
Transverse position of G2
G2: Analyzer
G1: Diffraction
G0: source
Neutron beam Incoherent
Coherent source
Talbot length
Detector
Image of G1 Micrometer range
Diffraction Regime | Working Principle
Grating period

## Slide 26
Marc Persoz | 8 sept. 2025 | PSI2025
Diffraction Regime | Working Principle
Neutron beam
Coherent source
Talbot length
Transverse scan with
Grating period

## Slide 27
p
2p
Marc Persoz | 8 sept. 2025 | PSI2025
Diffraction Regime | Working Principle
Intensity
G2: Analyzer
G1: Diffraction
G0: source
Neutron beam
Coherent source
Talbot length
Detector
Grating period

## Slide 28
QNeutron| Operating regimes
Detector
G2
G1
G0
Marc Persoz | 8 sept. 2025 | PSI2025
Diffraction
()
Ballistic
()
- Only specific wavelength, - Need to know the spectrum
- NOT wavelength dependent
- Ideal with a white beam
28

## Slide 29
Baumann us
60kV/cm 35kV/cm
1.74 nm 0.23 nm
30kHz 300 kHz
10 m 2.5 m
60um 250 um

## Slide 30
Marc Persoz | 8 sept. 2025 | PSI2025
G0
G1
G2
Chopper in casemate
Neutron detector
Neutron beam
Qneutron at ILL | Setup Components
A2
A0
6-meters Alu profile

## Slide 31
Ballistic Regime | Signal Analysis
Marc Persoz | 8 sept. 2025 | PSI2025
Intensity
Working point
p
- Two-beam method:
- Slope at working point:
y-position
- Visibility:
- Working point : Point with steepest slope
Sensitivity to neutron electric charge ?

## Slide 32
Marc Persoz | 8 sept. 2025 | PSI2025
Results from cycle 1-6
7536 values of
84 hours of data acquisition
182 hours in total (7.5 days)
Weighted mean value:
QNeutron | Results of the Neutron Electric Charge
Predicitions:

## Slide 33
Qneutron at ILL | Absorption Gratings
Marc Persoz | 8 sept. 2025 | PSI2025
4" (10 cm)
60 mm
2 mm thick sapphire, 30 µm Gd
p = 250 µm / R = 20%
1 mm
1 mm
Neutron beam
φ
Goniometer stage Rés.: 0.003° around x-axis
Translation stage Rés.: 1.25 µm along y-axis
Rotation stage Rés.: 0.01° around z-axis
Grating for ballistic setup
Grating manufacturing:
4’’ Ø sapphire wafers (thickness = 1 or 2 mm)
Gadolinium layer as absorber (thickness = 20 or 30 µm)
6 x 6 cm2 laser- engraved lines
Grating in holder on motorized stages
Grating parameters:
Period
Duty Cycle (opening fraction)
Absorber thickness

## Slide 34
Marc Persoz | 8 sept. 2025 | PSI2025
Ballistic Regime - Experimental Setup
QNeutron started in Sept 2020
8 Characterization beam times at PSI (80 days) - From to
1 Characterization beam time at ILL (30 days)
Neutron electric charge measurement at ILL (20 days)
Installation at ILL PF1B beam line

## Slide 35
Time-of-Flight | General principle (top view)
Marc Persoz | 8 sept. 2025 | PSI2025
Chopper and detector are synchronized
START time: Chopper send a pulse to the detector
STOP time: Detector stores neutrons in time bins
Continuous beam
Pulsed beam
Chopper
Detector
The neutron pulse spreads during travel

## Slide 36
Qneutron at ILL | TOF Components
Marc Persoz | 8 sept. 2025 | PSI2025
Chopper in casemate
Installation at ILL PF1B beam line
32 Si wafers coated with Ti-Gd
acceptance
Pulse frequency

## Slide 37
Qneutron at ILL | TOF Components
Marc Persoz | 8 sept. 2025 | PSI2025
Aperture
30 cm
5 5 cm2 beam spot
16 16 pixels
Efficiency of 35% at 0.5 nm
Max rate = 20 MHz
1010 cm2 active area
55 cm2 BorAl aperture
Gas Electron Multiplier (GEM) foils
10Boron layers:
ARCAL (82% CO2/ 18% Argon) gas is ionized
Electron cloud generated by high-voltage
Electronic read-out
Aperture

## Slide 38
Marc Persoz | 8 sept. 2025 | PSI2025
~4000 m/s ~83 meV
~200 m/s ~0.23 meV
~1300 m/s ~9 meV
~840 m/s ~3.7 meV
Time-of-Flight | PF1B Beam Line at ILL

## Slide 39
Marc Persoz | 8 sept. 2025 | PSI2025
G0
G1
G2
Chopper in casemate
Neutron detector
Neutron beam
Qneutron at ILL | Setup Components
A2
A0
6-meters single extruded Al profile

## Slide 40
Qneutron at ILL | Absorption Gratings
Marc Persoz | 8 sept. 2025 | PSI2025
4" (10 cm)
60 mm
2 mm thick sapphire, 30 µm Gd
p = 250 µm / R = 20%
1 mm
1 mm
Neutron beam
φ
Goniometer stage Rés.: 0.003° around x-axis
Translation stage Rés.: 1.25 µm along y-axis
Rotation stage Rés.: 0.01° around z-axis
Grating for ballistic setup
Grating manufacturing:
4’’ Ø sapphire wafers (thickness = 1 or 2 mm)
Gadolinium layer as absorber (thickness = 20 or 30 µm)
6 x 6 cm2 laser- engraved lines
Grating in holder on motorized stages
Grating parameters:
Period
Duty Cycle (opening fraction)
Absorber thickness

## Slide 41
Grating design | Duty Cycle (R)
Marc Persoz | 8 sept. 2025 | PSI2025
Intensity modulation for and
3 periods of
/ datapoint,
Gaussian fit to extract
Visibility vs. neutron wavelength
Best compromise between and

## Slide 42
Grating design | Absorber thickness tGd
Marc Persoz | 8 sept. 2025 | PSI2025
1e6
Intensity modulation for and
3 periods of
/ datapoint,
Gaussian fit to extract
Visibility vs. neutron wavelength
Best compromise between and

## Slide 43
Marc Persoz | 8 sept. 2025 | PSI2025
Beam Deflection Measurement
Snell-Descartes law:
G2
G1
G0
Detector
Aluminium cube
Top view

## Slide 44
QNeutron | Beam Deflection Measurement
Marc Persoz | 8 sept. 2025 | PSI2025
Focus on 3 distinct zones:
Top view
Aluminium cube
G2
Side view
Aluminium cube
G2
Detector
Top zone:
Not affected
Left and right zone:
Not affected
Intensity modulation with best setup – 30 s per datapoint

## Slide 45
Marc Persoz | 8 sept. 2025 | PSI2025
4 measurements at different
Quadratic fit to extract
For Aluminium :
bc = 3.449 fm
ρ = 6.02 x 1028 m-3
Snell-Descartes
QNeutron | Beam Deflection Measurement

## Slide 46
QNeutron | Regime Transition
Marc Persoz | 8 sept. 2025 | PSI2025
3 different distances :
Intermediate setup (transition ballistic-diffraction)
Single-slit diffraction formalism
TOF for wider range investigation
Condition for purely ballistic:

## Slide 47
Marc Persoz | 8 sept. 2025 | PSI2025
Characterization in Diffraction Regime

## Slide 48
QNeutron | Diffraction Regime
Marc Persoz | 8 sept. 2025 | PSI2025
λ = 0.23 nm
λ = 0.46 nm
λ = 0.32 nm
1st order image
2nd order image
NO image
scan
scan
scan
High visibility
High visibility
Low visibility
G1
G2
Modulation depends on the wavelength !
Talbot wavelength
Time-of-Flight spectrum – PF1B

## Slide 49
Marc Persoz | 8 sept. 2025 | PSI2025
λ = 0.23 nm
LG = 2.75 m
λ = 0.46 nm
λ = 0.32 nm
λ = 0.35 nm
LG = 2.75 m
λ = 0.58 nm
λ = 1.15 nm
Simulation Interference pattern
ILL Data 2-periods scan of G2
Order 1
Order 2
random
Order 1.5
Order 2.5
Order 5
G1
G2
G1
G2
Simulation Interference pattern
ILL Data 2-periods scan of G2
QNeutron | Diffraction Regime

## Slide 50
Marc Persoz | 8 sept. 2025 | PSI2025
λ = 0.92 nm
λ = 1.15 nm
λ = 0.23 nm
Experiment design : -
-
-
λ = 0.46 nm
λ = 0.69 nm
Talbot carpet: Simulation vs. data
Simulation
ILL data
QNeutron | Diffraction Regime