## Slide 1: Noninvasive, multichannel nuclear magnetic resonance chemical analysis via OPM arrays in the zero- to ultralow-field regime
Blake Andrews
Ajoy Lab
University of California, Berkeley

## Slide 2
Slide 2
What is NMR?
- NMR examines nuclear spin behavior in a magnetic field.
Noninvasive:
Nuclear spins do not participate in chemistry.
“Silently listen in”
-Reveals chemical structure and environment. Quantifies chemicals present.

## Slide 3
Slide 3
Limitations of NMR
- High field homogeneity (<10ppb): frequent calibration.
- High operating fields 9.4 - 28.2T (typical MRI: 1.5 - 3T) and expensive.
- Need specialized tubes.
28.2T NMR at Ohio State University
- Achieved in small “sweet spots” (<5cm3): one sample at a time

## Slide 4
Slide 4
Alternative: OPM-based NMR
OPM-detected NMR subverts many of these challenges:
- Frequencies and amplitudes encode chemical information.
OPM-NMR
- Benefit from the strides taken in OPM development and its commercialization.
- Simply a magnetic field measurement (100-1,000nT)
Previous:

## Slide 5
Slide 5
What is Zero-Field (ZF) NMR?
OPM NMR measurements are performed at zero magnetic field (<10nT).
- Zero-field NMR (ZF NMR): high-field preparation and zero-field detection.
Conventional NMR
- Measured through a variety of materials.
ZF NMR
Homogeneous “Sweet Spot”

## Slide 6
Slide 6
Advantages of ZF NMR via OPM
Large homogeneous volume
Stability without calibration
>10 days!
Truly noninvasive
Sensitive chemical fingerprint
D. Burueva. Angew. Chem. Int. Ed. 59, 17026 – 17032 (2020).

## Slide 7
Slide 7
Implications of ZF NMR
Freedom from the NMR tube enables practical measurements.
Food QC post-packaging
Agricultural and food industry is the fastest growing customer segment.
Noninvasive Monitoring

## Slide 8
- Intramolecular interactions (J-couplings) dominate.
Slide 8
Signals at ZF
D. Barskiy, et al., Prog. NMR. Spectrosc. 148-149, 101558 (2025).
- Signals are delocalized polarization passing modes (total angular momentum).
- Weak couplings: frequencies are low (10-300Hz).

## Slide 9
Slide 9
ZF NMR at Berkeley
In the Ajoy Lab, we’ve performed the most sensitive ZF NMR.
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
- Noise suppression, specialized hardware, and stronger magnets. 270x better!
- Can collect high resolution spectra with low noise.

## Slide 10
Slide 10
First Natural Abundance Measurement
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
In nature, NMR active Carbon-13 (ubiquitous in chemistry) is only present in 1.1%.
- Measured for the first time! (Previously reported artificially enriched compounds in 99%.)
-”Off-the-shelf” chemical samples (>15 and counting!). Real world applications!
crucial for real-world applications.
- Each carbon produces a unique spectrum. More information

## Slide 11
Slide 11
Roadmap
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
(I) Dilute or rare abundance species
(II) Theoretical Interpretation Tools
(III) Multichannel NMR

## Slide 12
Slide 12
Roadmap
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
(I) Dilute or rare abundance species
(II) Theoretical Interpretation Tools
(III) Multichannel NMR

## Slide 13
Slide 13
(I) Dilute or Rare Abundance Species
With our apparatus, dilute analytes can be resolved.
-Diluted natural abundance compounds
-No water due to lack of carbon:
profound impact on medical diagnostics
-Rare double isotopic labeling (1% of 1%!).

## Slide 14
Slide 14
Roadmap
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
(I) Dilute or rare abundance species
(II) Theoretical Interpretation Tools
(III) Multichannel NMR

## Slide 15
Slide 15
(II) Theoretical Interpretation Tools
Obtaining ZF Spectra is now possible, but what do they mean?
?
Information richness is a challenge!
Simple Hamiltonian with only couplings:
no experimental parameters.

## Slide 16
Slide 16
Interactions (Jij) can be predicted from first principles.
-Only the molecular structure is assumed, allowing molecular identification.
Xiao Liu
Head-Gordon Group
UC Berkeley
(II) Theoretical Interpretation Tools
Unprecedented accuracy!
Precise Intramolecular Coupling Values!
Simulation can be optimized against experimental spectrum
Legend: Residuals Experimental Optimized Simulation
A. Wilzewski, S. Afach, J.W. Blanchard, D. Budker. J. Magn. Reson, 284, 66-72 (2017).

## Slide 17
Slide 17
Roadmap
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
(I) Dilute or rare abundance species
(II) Theoretical Interpretation Tools
(III) Multichannel NMR

## Slide 18
Slide 18
(III) Multichannel NMR
In the Ajoy Lab, we’ve successfully achieved multichannel ZF NMR Detection.
Blake Andrews, et al., PNAS Nexus, 4, 6, pgaf187 (2025).
- 3x1 OPM array measure distinct chemicals
-Representative building block of larger array (>100 OPMs)
Inhomogeneous magnet is used.
Cost comparable to conventional NMR
Multichannel Design draws inspiration from MEG applications.
Potential for Machine Learning!

## Slide 19
Slide 19
Outlook
There are still many avenues for sensitivity gains to be made.
23T watch-sized Magnet
2.45x boost
Ferrite Core Magnetic shield
4-10x boost
Optimized Signal Capture
1.73x boost
Faster Transport
1.3x boost
Potential 22 - 55x sensitivity boost
(~500-3000x boost in measurement time)
Further sensitivity gains by modifying OPM!
We believe ZF NMR can make greater strides in the future if chemists and OPM researchers work together.
C. Gao, et al., Supercond. Sci. Technol. 37, 065018 (2024).

## Slide 20
Slide 20
Outlook
OPMs extend the power of NMR to novel regimes.
Sample
Throughput
Hasan Celik, facility manager UC Berkeley, 2024.

## Slide 21
Slide 21
I’m thankful for the work of others on the zero-field NMR project
Matthew Lai – UC Berkeley, Post Baccalaureate
Zhen Wang – University of Science and Technology of China, Undergraduate
Norihisa Kato – Hamamatsu, Visiting Scholar
I also want to thank Michael Tayler at the Institute of Photonic Sciences in Barcelona for letting me use his custom hardware.
Raphael Zumbrunn – ETH Zurich, Undergraduate
Thank you for listening!
Calvin Lee – UC Berkeley,
Undergraduate

## Slide 22
Abounding Complexity
Complexity grows rapidly with number of spins.
-Spectrum is sensitive even to smallest coupling!

## Slide 23
Crosstalk Characterization
Crosstalk reaches a minimum at 15.4mm separation.

## Slide 24
Crosstalk Characterization
Natural Abundance Library