## Slide 1
Searching for dark matter with comagnetometers
August 8 2025
WOPM 2025 @ PSI
Daniel Gavilán-Martin & Grzegorz (Greg) Łukasiewicz​
GNOME (Global Network of Optical Magnetometers for exotic physics)
Notes: My name is Grzegorz. Thank you so much for having me here. It's my true pleasure to tell you a little bit about about GNOME.

## Slide 2
Motivation
Motivation for comagnetometry
Comagnetometers exploit multiple spin ensembles for sensing beyond the reach of each individually
cajohare.github.io/AxionLimits
https://qant.com/atomic-gyroscope/
M. Smiciklas et al., Phys. Rev. Lett. 107, 171604 (2011)
Z. Xu et al., Phys. Rev. Lett. 134, 181801 (2025)
Princeton, PSI, NPL, Weizmann, Beijing, Hangzhou, Hefei, Canberra, GNOME and others…
FUNDAMENTAL
Lorentz invariance
5th force
nEDM
dark matter
APPLIED
inertial navigation
quantum memory
https://www.psi.ch/en/nedm
R. Shaham et al., Nat. Phys. 18, 506–510 (2022).

## Slide 3
Motivation
Motivation for comagnetometry
cajohare.github.io/AxionLimits
https://qant.com/atomic-gyroscope/
M. Smiciklas et al., Phys. Rev. Lett. 107, 171604 (2011)
Z. Xu et al., Phys. Rev. Lett. 134, 181801 (2025)
Princeton, PSI, NPL, Weizmann, Beijing, Hangzhou, Hefei, Canberra, GNOME and others…
FUNDAMENTAL
Lorentz invariance
5th force
nEDM
dark matter
APPLIED
inertial navigation
quantum memory
https://www.psi.ch/en/nedm
R. Shaham et al., Nat. Phys. 18, 506–510 (2022).
Co-located spin ensambles (including long-lived nuclear spins) for magnetic noise suppresion

## Slide 4
Outline
Outline
S. Afach et al., Nat. Phys. 17, 1396–1401 (2021)
GNOME & intro to self-comepnsating comagnetometers
Sensor optimization
Calibration routine
Dark matter search
Comagnetometer decoupling (preliminary)
GNOME (Global Network of Optical Magnetometers for exotic physics)

## Slide 5
Global Network of Optical Magnetometers for Exotic physics searches
Global Network of Optical Magnetometers for Exotic physics searches
GNOME infrastructure
DM Technologies
Sensors of different types
1 or 2 sensitive axes
Bandwidth: DC-100 Hz
Data acquisition system
Common data storage
S. Afach et al., Nat. Phys. 17, 1396–1401 (2021)

## Slide 6
Self-compensated atomic comagnetometer
Self-compensated comagnetometer
spin-exchange collisions
pump beam
pump beam
probe beam
Mixture of alkali metals and noble gas atoms (Rb-K-3He)
SERF regime (190oC), 3.5 amg of 3He
Inspired by Michael Romalis
T. W. Kornack & M.V. Romalis, Phys. Rev. Lett. 89 (2002)
electronic magnetization (alkali atoms)
nuclear magnetization (noble gas atoms)
bias field

## Slide 7
electronic magnetization (alkali atoms)
nuclear magnetization (noble gas atoms)
Coupled spin dynamics
perturbation
Coupled spin dynamics
Dynamics analyzed in transverse xy plane

## Slide 8
electronic magnetization (alkali atoms)
nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics
Dynamics analyzed in transverse xy plane

## Slide 9
electronic magnetization (alkali atoms)
nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics
Decoupled dynamics
(Oversimplification, in reality alkalis feel precessing 3He as effective rotating magnetic field and provide indirect optical readout of 3He magnetization state)
Dynamics analyzed in transverse xy plane

## Slide 10
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics

## Slide 11
Coupled spin dynamics
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation

## Slide 12
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics

## Slide 13
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics

## Slide 14
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics

## Slide 15
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
Coupled Bloch equations
perturbation
Coupled spin dynamics

## Slide 16
Coupled spin dynamics
Coupled spin dynamics analogy
Taipei 101 by Alton Thompson, 2007

## Slide 17
Coupled spin dynamics
Coupled spin dynamics analogy
https://99percentinvisible.org/episode/supertall-101/
Taipei 101 by Alton Thompson, 2007
Tuned Mass Damper

## Slide 18
Coupled spin dynamics
Coupled spin dynamics analogy
https://99percentinvisible.org/episode/supertall-101/
Taipei 101 by Alton Thompson, 2007
Tuned Mass Damper

## Slide 19
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Coupled spin dynamics
perturbation
Coupled spin dynamics analogy
https://99percentinvisible.org/episode/supertall-101/
Taipei 101 by Alton Thompson, 2007
Tuned Mass Damper
Alkali (electronic) polarization acts as tuned mass damper for long-lived nuclear spins.

## Slide 20
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Compensation point
Compensation point
Strong coupling regime to ensure fast damping
Geometrical steady state analysis
pump beam
probe beam
bias field

## Slide 21
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Compensation point
Compensation point
pump beam
probe beam
bias field
Strong coupling regime to ensure fast damping
Geometrical steady state analysis
perturbation

## Slide 22
Electronic magnetization (alkali atoms)
Nuclear magnetization (noble gas atoms)
Compensation point
Compensation point
Due to strong damping nuclear magnetization follows magnetic field changes
perturbation
outside comp. point
inside comp. point
Compensation point = bias field that enables suppressesion of alkali magnetization response to magnetic fields

## Slide 23
Advanced GNOME sensors
GNOME sensor requirements
Stable operation
Frequency-dependent calibration to generic spin perturbations

## Slide 24
Stability optimization
E. Klinger et al., Phys. Rev. Appl. 19, 044092 (2023).
Stability optimization
Problem: 3He magnetization drift
Solution: gradient optimization
The self-compensating point shifts over time due to nuclear spin relaxation, leading to drift in magnetic field compensation.
Effect: Continuous sensor operation over weeks (with stable nuclear magnetization)

## Slide 25
Frequency response determination
Question: How would a comagnetometer respond to exotic spin coupling?
M. Padniuk, E. Klinger, et al., Phys. Rev. Research 6, 013339
Frequency response determination

## Slide 26
Frequency response determination
FFT
magnetic response fit
single shot step response measurement
M. Padniuk, E. Klinger, et al., Phys. Rev. Research 6, 013339
Frequency response determination

## Slide 27
Frequency response determination
FFT
magnetic response fit
single shot step response measurement
M. Padniuk, E. Klinger, et al., Phys. Rev. Research 6, 013339
Frequency response determination

## Slide 28
Frequency response determination
FFT
magnetic response fit
rotation response prediction & comparison with the measurement
FFT
single shot step response measurement
M. Padniuk, E. Klinger, et al., Phys. Rev. Research 6, 013339
Frequency response determination

## Slide 29
Outline
Outline
S. Afach et al., Nat. Phys. 17, 1396–1401 (2021)
GNOME & intro to self-comepnsating comagnetometers
Sensor optimization
Calibration routine
Dark matter search
Comagnetometer decoupling (preliminary)
GNOME (Global Network of Optical Magnetometers for exotic physics)

## Slide 30
Outline
Outline
S. Afach et al., Nat. Phys. 17, 1396–1401 (2021)
GNOME & intro to self-comepnsating comagnetometers
Sensor optimization
Calibration routine
Dark matter search
Comagnetometer decoupling (preliminary)
GNOME (Global Network of Optical Magnetometers for exotic physics)