## Slide 1: WOPM 2025
L. Page, M. T. M. Woodley, T. Coussens, D. Nightingale, D. Nicolau, P. Krüger and F. Oručević
Blood flow monitoring using OPMs
Blood flow monitoring using OPMs
08/08/2025

## Slide 2
Introduction: blood flow monitoring
Blood flow measurement important for continuous monitoring
Monitoring: heart rate, blood pressure, oxygenation, red blood cell concentration
1/19
Notes: Why is it important?
What parameters are important to monitor?

## Slide 3
Current blood flow technologies
F. L. Sinatra et al. “Understanding the Interaction Between Blood Flow and an Applied Magnetic Field” (2010).
Magnetically detecting bloodflow and other characteristics using OPMs has the potential to improve upon existing techniques
2/19
✓
✓
*
* Pulse oximetry only works on extremities, and has limitations working with different skin pigmentations, contributing to healthcare disparities
Notes: Comment on columns, not specific technologies

## Slide 4
Principle
Liquid starts randomly polarised
Magnet polarises the liquid
Polarisation decays over time
Magnetometer measures polarisation
3/19

## Slide 5
Experiment: setup
4/19
Notes: Water instead of blood as it’s easier to access/get a hold of and work with

## Slide 6
Experiment: setup
4/19
Notes: Use peristaltic pump to replace heart – controlled by microcontroller

## Slide 7
Experiment: setup
4/19
Notes: Magnet and magnetometers in series to measure the decay as the water travels
Shielding for the magnetometers

## Slide 8
Experiment: setup
4/19
Notes: Controlled from computer which collects all the data via a voltmeter

## Slide 9
Experiment: setup
Shield
Magnets
Pump
Water
container
5/19
Notes: Messy

## Slide 10
Signal detection
Magnetometer 1 raw data
Square wave is signal from Arduino indicating pump status
Magnetic field data too noisy
6/19

## Slide 11
Signal detection
Magnetometer 1 filtered and averaged data
Green half is when the pump is on, and off for red
More noise when pump switches
Clear peaks visible
7/19
Notes: Clearly see peaks

## Slide 12
Signal detection
8/19

## Slide 13
Signal detection
8/19
Notes: Close to expected time differences

## Slide 14
Signal detection
9/19

## Slide 15
Polarisation precession
10/19
Notes: We also noticed some changes in the vector distribution, which pointed towards precession

## Slide 16
Polarisation precession
Polarisation precession around residual magnetic field along x axis
Precession frequency of ~2.5 Hz implies ~60 nT magnetic field
11/19

## Slide 17
Variables
Explore variables:
Flow speed
Number of magnets
Magnetisation time
Fluid composition
12/19

## Slide 18
Variables: pump speed
?
?
Signals shift left with higher pump speed
Noise increases with higher pump speed, masking the signal
17 cm/s is good for signal to noise ratio
13/19

## Slide 19
Variables: magnets
Extra magnets increase the magnetisation (or polarisation) of water
Signal inversion likely caused by polarisation precession following a change in the residual magnetic field from the new magnet setup
Peak magnitude increased with extra magnet
14/19

## Slide 20
Variables: magnetisation time
Most of the water magnetisation occurs during the intervals when the pump is turned off
Longer time under magnets creates a larger signal
15/19

## Slide 21
Variables: magnetisation time
The data can be fitted using the Bloch equation
T is the time constant
The measured magnetisation time of ~2.2 s is comparable to the T1 relaxation time of polarised hydrogen nuclei in MRI systems
1
16/19
Notes: T1 = spin-lattice relaxation time constant

## Slide 22
Variables: haemoglobin
*PBS = Phosphate Buffered Saline
*
PBS is diamagnetic, while methaemoglobin are paramagnetic
Taking the difference between the two measurements gives the haemoglobin signal
The haemoglobin concentration used in this experiment is 10-15 times lower than that found in human blood
17/19
Notes: PBS to maintain a stable pH and osmolarity for the haemoglobin
10 g/L vs. 120-180 g/L
Shows that even small changes in composition can be detected

## Slide 23
Future work
Reduce mechanical noise originating from the fluid flow system (e.g. pump, tubing)
Investigate polarization precession
with controlled magnetic fields
Configure polarisation magnets in a Halbach array to minimise residual magnetic fields
Test on humans
18/19
Notes: Don’t say ‘not finished’

## Slide 24
Summary
Summary:
Non-invasive OPM-based fluid flow monitoring achieved
Information about the medium can be determined
Room for further optimisation of setup
Potential for application in a range of medical and industrial fields
19/19
Notes: Thank you for listening
Do you have any questions?