## Slide 1: MuX meeting 29/11/2024
Marie Deseyn

## Slide 2: Geant4 update

## Slide 3: Geant4 simulations - status
Update of my simulations (big clean-up) | Done, everything can now easily be done with json files for different types of detectors, for scintillators, for beamlinepieces, … + energy deposition in all elements is possible now
Simulation of the array of last year | Not yet finished, all detectors are in but not miniball and the drawing-less detectors: Lege, Telescope, Leuven90 (waiting for the drawing from Reinaud), miniball (translate from my old simulation, should go rather quick as I don’t want this to be very adaptable) + need to compare to the calibration spectra
Scintillator design | Did very basic simulations (see later) Working on the bremsstrahlung tracking (not fully needed, but would be nice to see where brem is coming from)
Gradient descent for position optimization | Not much progress (to fix the 6e8 combinations in python and subsequent crashing)
New cluster | To make compatible with cluster, I now stopped using root in G4 simulations but I used G4 functions + fixed associated problems with multithreading (bremcode not yet updated)
Geant4 simulations for stepheight of hypermet | In progress

## Slide 4: Angle conventions
Top view
Top view
Top view
Thetay = 0
Thetay = 90
Thetay = 100
Side view
Side view
Side view
Thetax = 30
Thetax = 0
Thetax = -30
upstream
downstream
Northern hemisphere
Soutern hemisphere

## Slide 5: Main conclusions from the beamtime preparation work
Independent treatment of the detectors
General dependencies/constraints with Leuven 75 detector
  Low energy detectors on northern hemisphere (Bremsstrahlung + blocking for Si)
  : -20 to 20deg ok region
  : 70 to 100deg ok region + definitely don’t go to 0 deg

## Slide 6: Examples of what I can do now

## Slide 7: Examples of what I can do now

## Slide 8: Scintillators

## Slide 9: Scintillators
Integral ([0,4000]) of OldDesign spectrum: 203
Integral ([0,4000]) of OldDesignNoMetalSupport spectrum: 179
Integral ([0,4000]) of FullCover spectrum: 164

## Slide 10: Scintillators
Integral ([0,4000]) of OldDesign spectrum: 212
Integral ([0,4000]) of OldDesignNoMetalSupport spectrum: 143
Integral ([0,4000]) of FullCover spectrum: 72

## Slide 11: Scintillators
Integral ([0,4000]) of OldDesign spectrum: 127
Integral ([0,4000]) of OldDesignNoMetalSupport spectrum: 99
Integral ([0,4000]) of FullCover spectrum: 78

## Slide 12: Idea with Razvan and Christian
Before each germanium detector: put a scintillator detector with 3D printed endcap to fit on all snouts
Redesigning the scintillators around the target
Guided by Geant4 simulations

## Slide 14: Si data

## Slide 15: ELET
ELET overview table: (USING RUN 71290 - 71295)

## Slide 16: Anticoincidence windows
For negative time  Decided to look at background content vs. calibration line content
Decided on -3000ns

## Slide 17: Anticoincidence windows
Muonic x ray at 400keV
1000ns to be conservative (Because there is miniball who has this periodic noise that might trigger before the real muonic x ray is emitted)

## Slide 18: Used lines
Separate for Batch1 (Al and empty run); Leuven90 and Lege
Energy [keV] | Origin
1173.228 | Co60
1332.492 | Co60
302.8508 | Ba133
383.8485 | Ba133
1460.820 | K40
661.657 | Cs137
344.2785 | Eu152
778.9045 | Eu152
121.7817 | Eu152
867.380 | Eu152
1112.076 | Eu152
1408.013 | Eu152

## Slide 19: Evaluation of the gain drift

## Slide 20: Evaluation of the gain drift

## Slide 21: Evaluation of the gain drift

## Slide 22: Evaluation of the gain drift

## Slide 23: Evaluation of the gain drift

## Slide 24: Evaluation of the gain drift

## Slide 25: Evaluation of the gain drift

## Slide 26: Evaluation of the gain drift

## Slide 27: Evaluation of the gain drift

## Slide 28: Evaluation of the gain drift