## Slide 1: MuX meeting (13/12/2024)
Marie Deseyn

## Slide 2: Si data update

## Slide 3: Gain drift
I did initial better calibration, with same lines as gaindrift
Less lines taken into account
Energy [keV] | Origin
302.8508 | Ba133
383.8485 | Ba133
661.657 | Cs137
344.2785 | Eu152
778.9045 | Eu152
121.7817 | Eu152
867.380 | Eu152

## Slide 4: Gain drift

## Slide 5: Gain drift

## Slide 6: Gain drift

## Slide 7: Step height
Investigating the origin of the step height and predictive power of Geant4
Very much work in progress still
Experimental spectrum:
Simulated spectrum:

## Slide 8: Geant4 simulations of the array of this year

## Slide 9: Based on the measurements we took during the switch between Au-Pb-H2O target and Al/Si
Uncertainty on R : +- 30  Geant4 simulations for:
    All detectors on measured R
    All detectors on measured R + 30mm
    All detectors on measured R – 30mm

## Slide 10: Comparison
Scale experimental spectrum with: Nsim/(A*texp)
Fit experimental and simulated spectrum  Get integral value
Uncertainty on simulation: from the +-3cm simulations
Uncertainty on the experiment: from the uncertainty on the activity

## Slide 11: Comparison – 152Eu – 962keV line

## Slide 12: Comparison

## Slide 13: Comparison

## Slide 14: Comparison

## Slide 15: Compare – rescaled with 962keV line

## Slide 16: Comparison
Not very good, but quite a big step: Gaussian fit might not be the best