## Slide 1: muX meeting 17/01/2024
Marie Deseyn

## Slide 2: G4 simulations

## Slide 3: G4 simulation
Simulations mostly agree within 1 sigma with experiment for the efficiency
Redesign of the scintillator: plan to have weekly meetings with Narongrit + implementing stepping action to see more of the history

## Slide 4: Step size

## Slide 5: Step height
Simulate single energy photons for Leuven75 geometry
Infinite resolution
Step/signal
Trend???

## Slide 6: Step height
Note: Si 2p-1s E is not yet calibrated fully

## Slide 7: Step height – Si data fitting idea
fit (rescaled data) from 200 to 600 keV and then allow a general shift of this curve (B and C’ fixed; E0 = 600 keV; S(E0) = fitparameter)
Did the hypermet fitting for Si data, for Leuven75 only
Converged nicely + stepheight at 600keV (fitparam):
  Run3: 0.001403(46)
  Run4: 0.001295(38)
  Run5: 0.001424(45)

## Slide 8: Step height
Distance dependence:

## Slide 9: Step height
Distance dependence
Detector dependence:

## Slide 10: Step height
Do simulation for full array  for right positions
Step height increases all of a sudden ???

## Slide 11: Rise time

## Slide 12: Rise time
Currently investigating how we can correct for the different risetimes by adding risetime as a branch in the output tree of the analyzer
Ge06

## Slide 13: Rise time
Currently investigating how we can correct for the different risetimes by adding risetime as a branch in the output tree of the analyzer
Ge03

## Slide 14: Time dependent energy
Inspired by Michaels “problem”
Energy “drifts” towards lower values for increasing time difference
Idea: slower risetime pulses, correspond to a slightly smaller energy
Risetime = x(y=0.3*ADC) – x(y=0.1*ADC)

## Slide 15: Time dependent energy
For Si muonic x ray at 400
Ge09
Ge03
Longer risetime = lower energy
Risetime = x(y=0.3*ADC) – x(y=0.1*ADC)

## Slide 16: Time dependent energy
For Si muonic x ray at 400
Ge09
Ge03
Longer risetime = bigger time
Risetime = x(y=0.3*ADC) – x(y=0.1*ADC)

## Slide 17: Time dependent energy
Added the risetime as a branch in the output tree of the analyzer (only on Marie branch so far)
 Able to extract risetime from the tree
 Reran the analyzer for 5 runs first

## Slide 18: Time dependent energy
With cut
Without cut

## Slide 19: Time dependent energy
Ge09

## Slide 20: Time dependent energy
Ge03

## Slide 21: Time dependent energy
Ge03 – reverse cut
Extreme loss in statistics, as most events have long rise-time:

## Slide 22: Time dependent energy
Ge06

## Slide 23: Time dependent energy
Should we instead correct?
Somehow try to make a fit through the data, to then use as a correction

## Slide 24: Time dependent energy
So far:
  Reran the analyzer for some more files
  Hard drive problems

## Slide 25: Time dependent energy
So far:
  Reran the analyzer for some more files
  Hard drive problems
  Tried 2 different ways for energy
    Fit with “Gaussian tube”
      Worked not OK, likely because not right shape

## Slide 26: Time dependent energy
So far:
  Reran the analyzer for some more files
  Hard drive problems
  Tried 2 different ways for energy
    Fit with “gausian tube”
    Fit with weights (get energy and risetime of each bin and add an error = 1/weight to that point with weight = bincontent)  very much range dependent 

## Slide 27: Time dependent energy
So far:
  Reran the analyzer for some more files
  Hard drive problems
  Tried 2 different ways for energy
    Fit with “gausian tube”
    Fit with weights (get energy and risetime of each bin and add an error = 1/weight to that point with weight = bincontent)  very much range dependent 
    Looking for a better approach