## Slide 1: MuX Meeting 11/04/2025
Marie Deseyn

## Slide 2: Rise time correction

## Slide 3: Risetime correction
Ge06

## Slide 4: Risetime correction

## Slide 5: Risetime correction
Rise Time = = 1/slope
Ge06

## Slide 6: Risetime correction

## Slide 7: Risetime correction

## Slide 8: Risetime correction
Less high energy events here, because high E is collected closer to the electrode

## Slide 9: Risetime correction
Earlier deviation for high energy, because absolute difference increases
Same risetime, different amplitude

## Slide 10: Risetime correction

## Slide 11: Risetime correction
Seems linear in energy  What if divide by the energy?
Determining the slope

## Slide 12: Risetime correction

## Slide 13: Risetime correction

## Slide 14: Risetime correction
Rise Time = = 1/slope
Ge06

## Slide 15: Risetime correction
Before risetime = 1/slope(0.1*ADC and 0.3*ADC), but why this definition specific definition with 0.1 and 0.3?
Ge06
DID NOT WORK 

## Slide 16: Risetime correction
Before risetime = 1/slope(0.1*ADC and 0.3*ADC), but why this definition specific definition with 0.1 and 0.3?
Allowed now all combinations between 0.1*ADC and 0.9*ADC
Ge06

## Slide 17: Risetime correction – idea of the correction
Make Energy vs. Risetime 2D histogram
For every risetime bin make a gaussian fit to extract energy
Ge06

## Slide 18: Risetime correction – idea of the correction
Make Energy vs. Risetime 2D histogram
For every risetime bin make a gaussian fit to extract energy
Energy difference afo. Risetime  Fit (in e.g. 90% region of the data)
Ge06
*ADC
* ADC

## Slide 19: Risetime correction – idea of the correction
Make Energy vs. Risetime 2D histogram
For every risetime bin make a gaussian fit to extract energy
Energy difference afo. Risetime  Fit (in 90% region of the data)
Perform correction
Do something similar for the time afo risetime

## Slide 20: Risetime correction
Initial : 0.00839189

## Slide 21: Risetime correction
Initial : 0.00331666

## Slide 22: Risetime correction
Initial : 0. 0577753

## Slide 23: Risetime correction
uncorrected
uncorrected
corrected
corrected
Ge06

## Slide 24: Risetime correction
Energy: 400
E small interval: 400.44+-0.00116314
Difference: 0.0110092+-9.25995e-05
----------------------------
after correction:
E small interval: 400.484+-0.00120071
Difference: 0.0027611+-0.000100088
Statistics loss: 0.908689
--------------
Energy: 476.7
E small interval: 477.135+-0.00406199
Difference: 0.00560783+-0.00116701
----------------------------
after correction:
E small interval: 477.178+-0.00419535
Difference: 0.0014842+-0.000928501
Statistics loss: 0.917933
--------------
Energy: 133.5
E small interval: 133.625+-0.00264398
Difference: 0.0646389+-0.00133104
----------------------------
after correction:
E small interval: 133.668+-0.00294645
Difference: 0.0179757+-0.00114171
Statistics loss: 0.71139
Ge06

## Slide 25: Risetime correction
What if I combine multiple corrections? (95% correction with 0.1-0.2 and then another 95% correction applied on the corrected data)
 Did not improve the correction
Ge06

## Slide 26: Risetime correction – narrower thresholds
Optimal point does not agree  What is the best way to go?

## Slide 27: Risetime correction
uncorrected
corrected
Ge06
0.05;0.2
uncorrected
corrected

## Slide 28: Risetime correction
uncorrected
corrected
Ge06
0.1;0.18
uncorrected
corrected
-------------------------
Energy: 400
E small interval: 400.439+-0.000883223
Difference: 0.0111056+-7.11015e-05
----------------------------
after correction:
E small interval: 400.513+-0.000913149
Difference: 0.00227965+-9.45238e-05
Statistics loss: 0.909423
--------------
-------------------------
Energy: 476.7
E small interval: 477.145+-0.00315536
Difference: 0.00586605+-0.000763042
----------------------------
after correction:
E small interval: 477.219+-0.00322782
Difference: 7.95302e-05+-0.000667945
Statistics loss: 0.921931
--------------