## Slide 1: 7904 update
AWI Department meeting
Leonardo Sala
23 June 2025

## Slide 2: Who we are
Data Analysis and Research Infrastructure (DARI, or 7904) manages IT resources and services for Scientist at the Research Facilities (atm mainly SLS and SwissFEL):
High Performance Storage (GPFS)
High Performance Computing
Fast network fabric (Ethernet / Infiniband 200G)
Archiving automation (integration with SciCat)
Self-service Resource API
Dedicated DAQ nodes
Deployment pipelines (with 7902)

## Slide 4: Compute / Storage shutdown
We need to shutdown Ra (compute + storage) + SLS storage to perform various updates.
Current planned maintenance shutdown is on:
11-13 August (possibly longer +2 days)
(General IT maintenance window is 9-10 August)
We do not have many options, as now SLS and SwissFEL resources (storage specially) are bound together.
From now on, we plan to have 2 major shutdowns per year (January and August)

## Slide 5: Compute / Storage shutdown operations
GPFS storage upgrade to latest ESS release (Lenovo already at latest GSS)
GPFS clients to 5.2.3.2
Slurm to 25.5.1
Upgrade from MOFED to DOCA
Mount SLS2 storage read-write on Ra
Migrate CES to new AD object setup

## Slide 6: SwissFEL incident
On July 4th got a phone call from Luc Patthey about a cooling issue at SwissFEL
Natalia and Sven already warned us over chat
TL;DR SIZ got a cooling alarm for the Racks, has not found the head of Electricians (Emanuel Husler)
  Didn't know who to call
  Called the owner of the Interflex device...
A water valve was not working
  With Christoph Bostedt's approval, shut down all compute and DAQ
  Valve was replaced the next Wednesday
Emanuel will review what failed in the communication...

## Slide 7: SLS 2 new Storage layout - reminder
Details Confluence page, CPS Lab meeting, Documentation (WIP)
E-account home directory: local to the console
"Shared home directory":
  hosted on central AIT storage
  Automatically created only for new e-accounts
  automatically mounted on PSI linux systems under ~/network-drives
Work: same area as Ra
Access is granted over NFSv4 with Kerberos tokens (Linux), or SMB3 (Windows)
One single storage system for SLS, Ra and SwissFEL – this allows more flexibility in allocating storage, but higher operational risks

## Slide 8: Rollout and next steps
Phase-I beamlines roll out completed, Phase-II beamlines roll out
  X03MA - ADRESS
  X04DB – VUV
  X05DA – Optics
  X07MA – Xtreme
  X07DB – Phoenix
  X09LB - XIL
Pending beamlines
  X05LA – MicroXAS (will move to X08SA)
  X09LA – SIS (will move to X05LA)
  X03DA – Pearl (will move to X09LA)

## Slide 9: Data transfer system old storage -> new storage
Old data is still available in Read-only mode
A transfer system has been developed: https://dari.pages.psi.ch/sls/storage.html#slssls20-raw-data-transferdeletion
Please consider:
  Deleting and re-organizing your data
  Archiving your data after cleaning it
Old storage system will be decommissioned by end 2025 (possibly end of October)
Beamlines with pending storage roll-out are currently excluded from the transfer system and the decommissioning deadline

## Slide 10: CES issues
Some instabilities in NFS mounts of RAW, Data1, Data10
It seems some issues with a specific Active Directory controller
Mitigation: excluded controller from our setup
Currently trying to debug and reproduce together with AIT
  Of course we are failing reproducing it...
  Maybe DC00 reboot helped?
Enabled more winbind / AD response monitoring
  Will ask for Icinga2 integration after testing

## Slide 11: Commissioning accounts at SLS
Usage of gac-accounts as "beamline e-accounts"
No data cleanup
Useful for commissioning etc
Possible issue: immutable password (e-accounts password is changed every 6 months) + GAC account might have too many permissions
Possible solution: treat gac-account as an e-account
  Renew password every 6 months
  Get password from epwd
  Asked IT Security, seems feasible (do not know the timeline)
Some confusion at the beamlines on what is actually needed
  Will follow up

## Slide 12: SLS 2 Dynamic Online compute resources
Presented work ("flurm") to ISC 25 workshop: https://www.interactivehpc.com/ - see Ivano's talk
First tests with MX using dynamically allocated resources, more to come (Tomcat, cSAXS)
Enable Slurm RESTful API to submit jobs to Slurm (instead of using CLI) to be tested at the beamlines

## Slide 13: Next SLS2 procurements
Planned procurements with the rest of SLS2 project money
1x server with 4xH100 NVL
  Main requester: Tomcat
  Use: online analysis (but not a visualization server)
2x std_daq server
  Main requester: Tomcat
  Use: acquire Gigafrost and PCO.Edge
15-20 AMD-based compute nodes
  Example configuration: 2x28 cores, 512 RAM
  AMD seems to give better performances in analyzed use cases (PX, Tomcat)
  Will use most of the remaining money

## Slide 14
Thanks for your attention!