Machine Report Week 37/2025
Thomas Schietinger
SwissFEL Exchange Meeting, 15 September 2025

---
Calendar(s)

---
Settings
- For Aramis/Cristallina (Tue-Wed, Sat-Sun):
  - 11 keV, tunable by ±150 eV, 1.1 mJ (pulse energy not critical)
  - Standard pulse length, bandwidth
  - Sunday: 10 keV, ~1.1 mJ
- For Aramis/Alvra (Thu/Fri)
  - 12 keV, 1030 µJ
  - 14.5 keV, 530 µJ
- For Athos/Maloja:
  - 400 eV, C+, 4.5 mJ, standard pulse length, tunable ±30 eV
  - 790 eV, C+, 2.5 mJ, standard pulse length, tunable ±30 eV (not used)
  - Backup: 530 eV, C+, 4.4 mJ (not used)

---
 ● Photon energy (keV)
 ● Photon pulse energy (µJ)
Mon, 08-Sep, 08:00 – Mon, 15-Sep, 08:00
Photon (pulse) energies
Aramis
11 keV and 10 keV for Cristallina
commissioning, ~1.1 mJ
11 keV for Cristallina
commissioning, ~1.1 mJ
12 keV and 14.5 keV for Alvra
user experiments, ~1.1 mJ
Athos
400 eV for Maloja commissioning
4.5 mJ (reduced to ~2.5 mJ)
http://databoard.psi.ch

---
Photon (pulse) energies (ELOG view)
Aramis
11 keV and 10 keV for Cristallina
commissioning, ~1.1 mJ
11 keV for Cristallina
commissioning, ~1.1 mJ
12 keV and 14.5 keV for Alvra
user experiments, ~1.1 mJ
Athos
400 eV for Maloja commisioning
4.5 mJ (reduced to ~2.6 mJ)
http://databoard.psi.ch

---
Issues last week
Causing machine downtime:
Nothing
Causing degraded performance:
Athos beam feedback loops not available last week (some internal PV not found by feedback server) → slight instability in Athos performance
Other issues (no significant machine downtime)
MPS interlocks from charge integration watchdog due to ICT losing its calibration (Wed., 18:30)
WAGO controller in Athos front end lost communication (SATFE10-CWAG-PH05051) (Friday afternoon)
Not critical for operation, fixed on Monday during setup