Calendar: Machine Development

---
Failure of S10CB03 (5:45)
Repair by RF...
PPMD IGBT failure, PPMD replaced, boost converter replaced
Main machine issues last week
- RF:
  - RF station S30CB07 has faulty transformer (three open circuits). We can still run with it, but the transformer will be replaced during the winter shutdown (inspection on Monday maintenance day).
  - Failure of S10CB03 (PPMD IGBT failure) (Tuesday, 5:45), repair by on-call: PPMD replaced, boost converter replaced
- Magnet power supplies:
  - Failure of power supply of corrector magnet S30CB09-MCRY430 (Sunday, 23:30), fixed by on-call.