## Slide 1: MEG 2012 Run - An Overview
0.65
1.10
1.85
2.40
MEG Period Statistics
µ-Stops x 1014
2009
2010
2011
2012

## Slide 2: MEG 2012 Run Overview
In Essence:
EXTREMELY SUCCESSFUL RUN –
highest statistics obtained so far, approximately 30% more µ-stops than 2011
Technical difficulties with DC replacement modules caused delay in start-up –
systematic studies led to the finding & solving of the problem
Physics Run from 27th July – 21st December Total 148 days:
105 days Physics Data-taking
- 18 days Accelerator Shutdown/Service periods
- 5 days Trigger setup + Full Detector Test Data Taken (start-of-period)
- 11 days CEX Run (pions)
- 5 Days Mott Run (positrons)
- 4 days beam Tests (end-of-period)
Increased µ+ Stopping rate «Normal»  «Intermediate» Intensity + 10-15%
(based on detector rate tests end 2011)
Very Stable Operation & Run Conditions – allowed Remote Shifts over the whole period
(excluding Calibration Runs) Physics Part II had > 40% Remote Shifts
Total of 1108 shifts (886 Normal) allocated with 22 shift coordinators
Final 2012 Calibrations not concluded yet - can only say at present
detector performance consistent with 2011

## Slide 3: MEG 2012 Overview
Mott scattering e+ Beam
- First high statistics Mott Run with
improvements tested in 2011 Run
RF-selection gives good
monochromatic LINE
σE ~ 450-490 keV (8‰ σE /E at signal E)
Neutron Generator
with 9 MeV Ni gamma-line used as
standard calibration tool + inter-calib.
tool to bridge Muon & CEX Runs (no C-W)
Dedicated Cosmic Alignment
Cosmic Detector Alignment data run
taken at beginning of period
Calibrations
Beam Line
New PSI Epics Beam Line Control System
- all beam line magnet calibrations & optics
needed to be checked, Power supply
calibrations newly based on current only
Increased Beam Intensity for Run
- after detector intensity tests end 2011
increase shown feasible 
stopping intensity for 2012 Run
increased (10-15)%

## Slide 4: MEG 2012 Overview Cont.
7 DC Modules replaced
7 DC modules were replaced
For 2012 Run – initial HV
problems with modules located
& solved with extra HV-capacitor potting on prints
– caused start-up delay
- Loss of 7-planes by end of Dec.
DCs
Stable operation of calorimeter
- stable light-yield (well
monitored & compensated)
- PMT gain-loss at 2011 level
< 0.1%/D MEG < 0.2%/D CEX
- provisional energy
resolution consistent with
2011
Calorimeter
TCs
TC bar performance
- stable operation
- performance comparable to 2011
TC Fibre performance
- noise influence on DCs
negligable for whole Run
- for ‘’offline’’ analysis only

## Slide 5: MEG 2012 Overview Cont.
Organization
Remote Shift Scheme
fully Exploited
- supplimented full set of
‘’remote tools’’ to run
experiment over Internet
- added further monitoring
& surveillance tools
- added further electronic
control room aids
Trigger+DAQ
Trigger/DAQ
Performance
- 2011 introduced
Multi-buffering used
with a live-time LT ~ 99%
for normal rate but...
- New data-file compression
introduced to compensate
for intermediate intensity
maintain LT at 98% for new
MEG trigger rate 1013 Hz
bonus file-size significantly
reduced
Offline/Analysis
New Methods Developed in 2012
First test impact on pre 2011 data
- New Kalman-filter Fit
(more detailed model)
leads to improvement Norm.Fac &
Sensitivity improvement
- New Photon Waveform Analysis
(for pile-up identification +
improved E-resolution)
- New Pile-up Rejection method
exploits new waveform analysis
New offline FFT noise-filtering
algorithm for DC-waveforms
Offline/Analysis

## Slide 6: Final Schedule 2012 Run
Technical problem with replacement DCs led to start-up delay of 7 weeks for MEG 2012
- Part of time could be used for checking functionality of new beam line control system

## Slide 7: Final Schedule 2012 Run
After “Full Detector Test”
MEG Data-taking Normal/Intermediate
Intensity
CEX Pion Run (set-up overlap Accel. Shutdown)
MEG Data-taking Intermediate Intensity
Mott Positron Run (set-up overlap Accel. Shutdown)
MEG Data-taking Intermediate Intensity
Test Beam Period at EOR (not shown 4D)

## Slide 8: 2012 Run Conditions
- target
inclination
angle
Muon Target Parameters:
Inclination Angle  =(19.90.3)º
Thickness 205 µm CH2/Polyester Sandwich
Density 0.895 g/cm3
Mode | Measured Rate COBRA Centre at 2.2 mA 300m Degrader, He/Air 94%/6%
“Normal” (slits 105) | 3.6107 +s-1 σX = 9.2 mm σY = 10.0 mm
“Intermediate” (slits 115) | 4.3107 +s-1 σX = 9.3 mm σY = 10.1 mm
‘’High’’ (slits 250/280) | 9.4107 +s-1 σX = 10.2 mm σY = 11.9 mm
Degrader:
<Stopping Rate> for physics Run (300m degrader) at 2.2 mA ~ 3.3·107+s-1

Degrader
Thickness 300 µm Mylar
Density 1.395 g/cm3
He/Air 94%/6%
Consistent with 2011 measurements
Beam Intensity: -
Notes: 8

## Slide 9: 2012 Run in Numbers
Physics Run from 27th July – 21st December
Total 148 days:
105 days Physics Data-taking
- 18 days Accelerator Shutdown/Service periods
- 5 days Trigger setup + Full Detector Test Data Taken
(start-of-period)
- 11 days CEX Run (pions)
- 5 Days Mott Run (positrons)
- 4 days beam Tests (end-of-period)
Number of runs: 43833 at ~2k Events Σ MEG-events: 89.4 M Events
Σ DAQ Days ~ 91 Days
µ-stops 2.4·1014
Plot here assumes:
constant stopping
factor for all Runs
Actual Values 2012
0.65
1.10
1.85
2.40
MEG Period Statistics
µ-Stops x 1014
2009
2010
2011
2012
µ-Stops (2009 -2012)
~ 6·1014
Statistical – MEG’s most
Significant Physics Run
CEX
Mott
Acc.
Ser
Acc.
Acc.
Acc.

## Slide 10: Preliminary Detector Performance 2012
DCs
Calorimeter
TCs
Trigger+DAQ
Calibrations
Beam Line
2012 Data already Processed
though
Final Calibrations still Missing due to Priority placed on reprocessed 2009-2010 data + 2011 data Analysis + Calibrations
Preliminary Data Quality
similar to 2011
2011 - values
E ~ 1.65%
Te~ 140 ps
Ee~ 0.58%


## Slide 11: e+ Mott Scattered Beam
Coherent Mott-scattered
monochromatic Positron Beam
as a calibration-tool at the
MEG Signal-energy for our
Positron spectrometer
2012 – first high statistics data of Mott events from MEG-target
using the RF tof tested separation technique of 2011 for a 53 MeV/c e+-beam
RF TOF Spectrum
Beam
e+
Cloud
µ+
Preliminary
Monochromatic
Mott Line
σE = 450 – 490 keV/c

## Slide 12: Analysis Study
Should now have sufficient statistics to start planned studies now:
Polarization Study comparison of Michel e+ & Mott e+ events
-Distribution of Mott-events
compared to MC theoretical X-section
& detector "accepted" X-section
Detector Alignment Study
MC Data
Scattered e+ have well known F()
from binned -Distribution of Mott-events vs. P
Sensitive to misalignment effects – most sensitive for z!
Target Positional Resolution
Study of higher-density spaced materials on target

## Slide 13: BEAM REQUEST & SCHEDULE 2013
Beam Start Up: 13th MAY 2013
MEG Beam Request Mid May – End August 2013

## Slide 14: Basis 2013 Beam Request & Aspects
2013 Beam Time Sensitivity Reach Difference:
Summed Sensitivity (2009 – 2012) S ~ 7·10-13
Summed Sensitivity (2009 – 2013) S ~ 6·10-13
DC Replacement for 2013 Run needed:
- At start of 2012 Run 30 of 32 DC-planes
Functional, 2-lost at start
- At end of 2012 Run 7 DC-planes defective
& need replacing
HOWEVER
In a much better situation for 2013
Have 6 New & Tested DC-MODULES ready
for Installation NOW
Beginning of Run 2012
7 planes missing = 4 chambers
End of Run 2012
NO DELAYS or Beam Time Losses
due to DCs Expected 2013
Fits planned Schedule to start at Beg. of Period

## Slide 15
Start Extraction – Mid February
Ready for Accelerator Startup Mid-May
Sufficient contingency
6 Tested Spare DC Modules already
available for Exchange

## Slide 16
Ready for MEG Data-taking ~ 1week after Accelerator Switch On
Run at Intermediate Intensity gives ~ 70% of 2012 Statistics with CEX + Mott Runs

## Slide 17: Conclusions 2012 Run
Run finished a couple of weeks ago
Data already processed during run period
Final Calibrations not finished yet
Statistically MEG’s MOST SIGNIFICANT RUN so far!
At least 30% more data than previous best run period 2011
Preliminary performances similar to 2011
Analysis will continue after 2009-2011 data fully presented
Final MEG period 2013 Planned 3.5months beam requested
to maximize Sensitivity reach of MEG
Physics Results to be presented next  Gianluca