## Slide 1: 5th CCT Meeting
CERN/Paul Scherrer Institut
07.09.2017

## Slide 2: Overview
Furnace update, infrastructure finances, space
Cable (incl. fiber optics and Cu)

## Slide 3: Carbolite Gero & Nabertherm

## Slide 4: Concept

## Slide 5: Connection
Effective space requirement: 4x8 m
Power requirement reduced from 180 to 150 kW, still under discussion.

## Slide 6: Key data Nabertherm
cold trap?
how many heating zones on 2-m-long oven?
training on-site included?

## Slide 7: Price Gero

## Slide 8: Conclusion Furnace:
Price difference: 10,000 EUR.
  Nabertherm needs to add on-site commissioning and cold-trap for exhaust cleaning.
  Effectively prices are identical.
Gero working volume is cylindrical with 650 mm diameter, Nabertherm is square 250x250 mm.
6 month construction, 7 month delivery with Gero, 8-9 month delivery with Nabertherm.
Gero has experience with tuning of 3 furnaces at CERN.
  Will make our commissioning shorter and quality better.
We opt for Gero.

## Slide 9: Rayleigh Backscattering

## Slide 10: Rayleigh Backscattering

## Slide 11: Rayleigh Backscattering

## Slide 12: Localization

## Slide 13: Literature

## Slide 14: END