## Slide 1: Efficient energy recovery @ ESS
2019-11-28

## Slide 2: Back-up´s
New city area Brunnshög in Lund, Sweden

## Slide 3: Unique energy vision - One of the factors in the selection of Sweden and Lund as home for ESS
    Competence and higher education
    Synergies with research facility nearby
    Accessibility
    Unique energy and sustainability ambitions
    Site integrated with city
      Responsible
      Renewable
      Recyclable

## Slide 4: Lund municipality with high ambitions for Brunnshög
    40 000 people to live and work in the area
    World's best research and innovation environment
    International destination for science, culture & recreation
    European model for sustainable city development
    Local energy production 50% higher than consumed (”city as power plant")
    Transportation: Max 1/3 car, Min 2/3 public or bike

## Slide 5: Concept enables efficient heat recycling at ESS
District heating
Low temp ~ 20⁰C
High temp ~ 80⁰C
Surplus heat
Heat recovery
Heat pumps
High temp: > 80OC
Low temp: 16OC
Medium temp: 55OC
Medium/low temp: 31OC
Cooling production
Cooling machines

## Slide 6: Existing local heat market and infrastructure suitable for recovering ESS high temperature surplus heat
Lund
Eslöv
Helsingborg
Landskrona
Lomma
Chart: 
| District Heating | Heat pump | Electricity | Bio fuel | Oil & Gas
Heat demand i Sweden | 53 | 23 | 9 | 8 | 3.5
100
TWh
Notes: Värmen kommer till fastigheten i form av vatten som värmts upp i ett centralt värmeverk. Det heta vattnet transporteras i rör under högt tryck. Vattnet är mellan 70 och 120 grader varmt.
Fjärrvärme är den vanligaste uppvärmningsformen i Sverige. Mer än hälften av alla bostäder och lokaler värms med fjärrvärme.
I dag är största delen av den energi som tillförs värmeproduktionen förnybar.
De största posterna tillförd energi till fjärrvärmeproduktionen var 2013:
• Biobränslen: 44 procent.
• Avfall: 19 procent.
• Rökgaskondensering: 9 procent.
• Spillvärme: 7 procent

## Slide 7: Existing local heat market and infrastructure suitable for recovering ESS high temperature surplus heat
Fossil fuel
High temp surplus heat from ESS will reduce CO2 emission
Fossil fuel
Oil
GSHP
Bio heat plant
Ind. surplus heat
Biomass CHP
ESS
MAX IV
District cooling surplus heat

## Slide 8: Concept enables efficient heat recycling at ESS
District heating
Low temp ~ 20⁰C
High temp ~ 80⁰C
Surplus heat
Heat recovery
Heat pumps
High temp: > 80OC
Low temp: 16OC
Medium temp: 55OC
Medium/low temp: 31OC
Cooling production
Cooling machines

## Slide 9
Cooling equipment expels excess heat
Simultaneous heat demand – Fulfilled by combustion

## Slide 10
Visual spectrum
Infrared spectrum
Conventional cooling

## Slide 11
Combining benefits of well-known systems/components
Shared energy for a sustainable city

## Slide 12
How ectogrid™ works
Buildings connected to the same system provide each other with heating and cooling.
The most energy efficient heating and cooling solution
Cheaper to build - one grid serves 2 utilitites
Cheaper to operate
~15-40 OC
~5-30 OC

## Slide 13: Hybrid solutions complementing existing infrastructure

## Slide 14
ectocloud™
- Looping energy

## Slide 15
ectocloud™

## Slide 16: Thermal storage capacities in ectogrid™
Water in pipes
Surrounding earth (uninsulated pipes)
Acccumulator
Building climate shells
Notes: Växelvarmt, jobbar med mkt låga temp., delar spillvärme- och spillkyla med grannar, inget centralt pumparbete, inga distributionsförluster, utnyttjas för energilagring

## Slide 17: ectogrid™ enables flexibility due to thermal storage capacities
  Charging possible
  Night
  Sunrise
  Noon
  Sunset
  Night
  Time of the day
  Power (MW)
  Wind energy
  Solar energy
  Overall Demand
  ectogrid™ consumption
  Example
  Decharging wanted

## Slide 18: Different business models to fit customers needs
Purchase energy
Own your
equipment
Share the
investment

## Slide 19: ectogrid™ an innovative concept - examples

## Slide 20: Worlds first ectogrid™ implemented at Medicon Village Science Park in Lund

## Slide 21
District heating/
District cooling
ectogrid™
Balanced energy
Balanced energy
11 GWh
Supplied energy
3 GWh
District heating
10 GWh
District cooling
4 GWh
Supplied energy

## Slide 22: ectogrid™ to be implemented at ESS Campus utilizing 16O C surplus heat
” Making ESS energy efficient and one of the most sustainable research facilities in the world is core of our sustainability vision. The selection of the innovative ectogrid™ concept is fully in line with this”
Kent Hedin, Head of Conventional Facilities, ESS

## Slide 23: Concept enables efficient heat recycling at ESS
District heating
Low temp ~ 20⁰C
High temp ~ 80⁰C
Surplus heat
Heat recovery
Heat pumps
High temp: > 80OC
Low temp: 16OC
Medium temp: 55OC
Medium/low temp: 31OC
Cooling production
Cooling machines

## Slide 24: Construction of cooling production and heat recovery starts now!
Purchase energy
Own your
equipment
Share the
investment

## Slide 25
Thank you!
sonny.stromberg@eon.se
+46 70 541 51 15