## Slide 1: Neutron Optics enhanced Sample Environment
Marek Bartkowiak :: Sample Environment Group LIN :: Paul Scherrer Institut
1st Workshop on Efficient Neutron Sources, 2.-5. Sept. 2019 PSI

## Slide 2: Project Team
Christine Klauser
Emmanouela Rantsiou
Tobias Panzner
Matti Forster
Uwe Filges
Peter Böni

## Slide 3: Motivation
Sample
Samples are often very small/tiny (~ 1 mm3)

## Slide 4: Motivation
Sample
Neuron beam has cross-section of ~1cm2
Samples are often very small/tiny (~ 1 mm3)
Neutron beam

## Slide 5: Motivation
Sample Holder
Sample
Sample Space
Neuron beam has cross-section of ~1cm2
Samples are often very small/tiny (~ 1 mm3)
sample holder in close vicinity of sample will contribute to background
Neutron beam

## Slide 6: Motivation
Samples are often very small/tiny (< 1 mm3)
Samples are located inside different kind of sample environments (like cryostats)
for complex sample environment focusing elements are far away from sample – large direct beam size

## Slide 7: Motivation
Seite 7
beam collimation
minimises parasitic scattering
 better signal-to-noise ratio
and
no flux increase on sample
sample
aperture
neutron beam

## Slide 8: Focusing neutrons on small samples
3. September 2019
PSI,
3. September 2019
PSI,
Seite 8
Focusing important
Maximises beam on sample
minimises parasitic scattering
 better signal-to-noise ratio
and
higher flux on sample
cryogenic lens
RT optics
neutron beam

## Slide 9: some design considerations
conceived as an addition to existing instruments as add-on
will mix direct beam and reflected beam
will increase divergence
will be limited in length
SE equipment: Paris-Edinburgh press
samples are small
restricted beam access to sample
simple cryostat
Instrument:
suitable for instruments where beam divergence is not critical
PE-press is used
cold neutrons instrument
DMC (powder diffractometer)

## Slide 10: PE-press
sample volume sphere diam. 5mm
pressure cell (vert. opening 2-1.2mm at gasket)
anvil vertical angle +-7 deg
pressure cell 100kbar operated at <5K - 300K
in He exchange gas
diam 227

## Slide 11: DMC
monochromator: pyrolytic graphite, vertical focusing, 5 crystals of height 25mm
wavelength (selected for the experiment): 2.45Å and 4.5Å
oscillating radial collimator in front of the detector
“Banana” type multidetector 0.2º angular separation
radial coverage 79.8º, vertical acceptance 1.7º

## Slide 12: key issues to be addressed
a room temperature pre-focusing optics needs to be made, optimized as part of the full setup
 many different focusing types should be available (quasi adapt)
a miniature focusing neutron lens suitable for cryogenic temperatures has to be devised
 a project by itself
both elements need to be aligned with respect to the sample
needs precision mechanics
 needs an alignment procedure

## Slide 13: Quasi-adaptive lens system
design without any motor
experimental set up at BOA
1- base plate
2 - adjustment box
3 - aluminum frame
4 - adjustment carrier
5 - super mirror coated substrate
6 - beam stop pair
gain factor > 12
peak size (FWHM) < 0.17 mm
Simple and adaptable system for non-linear guide profiles
Notes: Profiles are eroded with a precision of 1-2 mum. Turning machine …

## Slide 14: Cryogenic Lens
Investigation of Si, glass optic assemblies
critical points:
assembling of curved super mirrors
choice of glue
precision of the gluing process

## Slide 15: Cryogenic Lens
precision requirements on the lens holder:
0.1mm vertical
tilting < 0.03deg
vertical height and tilt adjustable after installation even at 4K
piezo-drives
tilt around the focal point <1mº precision
vertical height with < 0.1um precision
Lens holder – precision under extreme conditions

## Slide 16: beam profile – phase space
alignment procedure relies on in-situ characterization of the transmitted beam:
align quasi adaptive lens with respect to sample
remove qao
align cryolens
install qao
fine-adjust full setup

## Slide 17: beam profile – phase space
alignment procedure relies on in-situ characterization of the transmitted beam:
align quasi adaptive lens with respect to sample
remove qao
align cryolens
install qao
fine-adjust full setup

## Slide 18: full setup on DMC
quasi adaptive optics
neutron beam
cold optics assembly
PE-press
DMC radial detector

## Slide 19: full setup on DMC
10GPa Paris-Edinburgh press
Anvil
Gasket
cryogenic Neutron lens
quasi adaptive optics
neutron beam
PE-press
DMC radial detector

## Slide 20: Results in comparison with simulation
A gain factor (signal/noice) of 2.5 was measured without a loss in resolution.
Measurement was done up to a pressure of 60 kbar.
Sample: Mn33.3Ni41.7Si25 at 4.5 A
McStas simulation were performed
optimal design for the lens setup was found
max length cryolens: 97mm
min gap between both lenses: 70mm
elliptic lens: more defined focal point and higher gain (3.5)

## Slide 21: Results in comparison with simulation
A gain factor (signal/noice) of 2.5 was measured without a loss in resolution.
Measurement was done up to a pressure of 60 kbar.
Sample: Mn33.3Ni41.7Si25 at 4.5 A
The distance between the focusing monochromator and the first optical element was maximized to reach this gain.
but usually a 77cm shorter distance is used due to the horizontal beam divergence (~1/3 of total dist.)
However…

## Slide 22: Results – short distance
2θ in deg
Intensity
4.5Å
without optics
with optics
use cold optics only
quasi adaptic optics has no effect
Gain 1.5
this is in agreement with simulation
intensity gain at sample: 2.5
reduction in detector du to anvils
(they act as beam restriction)

## Slide 23: Focus Defocus – a concept for optimization of DMC
focusing lens
sample
defocusing lens
pressure cell
scattered beam
detector
side view:
vertical opening of detector
+- 1.7 deg
vert beam divergence of optics
+- 3.5 deg

## Slide 24: Focus Defocus – a concept for optimization of DMC
Gain 4.0
@ 4.5Å
focusing lens
sample
defocusing lens
pressure cell
scattered beam
detector
side view:

## Slide 25: defocus lens development
test setup coverage ~6deg
wide angle optics 1 coverage 2x20deg
wide angel optics 2 coverage 4x20deg
all-silicone made wide angle lenses
made of segments to approximate a conical surface
defocus expected gain: 1.8

## Slide 26: open question
3 distinguishable beam portions are observable
Can we use this to numerically reconstruct each individual scattering pattern?

## Slide 27
Conclusions:
Neutron optics can be used to increase the beam intensity on the sample
and/or reduce the background.
They can be incorporated in cryogenic sample environment.
To take full advantage they need to be considered in the instrument concept from the beginning.
They can be used to increase the performance of existing devices to some extend.