## Slide 1
Andreas Dax
SPM SwissFel- November 10th 2020
Impact of the photocathode laser on the arrival time jitter at the SwissFel injector

## Slide 2
Time jitter and drift today
Technical improvements
Amplitude jitter and drift at a later time
Time jitter performance in collaboration with T&S division
Agenda

## Slide 3
Arrival time jitter tolerated at cathode
∆t[fs] | Ipeak[%] | ∆E[%]
20 | 5 | 0.05
Refs: B.Beutner, S.Reiche
Proc.FEL2010, WEPB17, 437-
440 Malmoe Sweden (2010)
Roger Kalt & Zheqiao Geng,
RF and Beam Stability at
SwissFEL,LLRF2019 Workshop,
Chicago, USA 2019
Measured values at BC2 Exit:
Beam energy jitter:
2.3e-4 RMS
Bunch length jitter:
11.8 % RMS
Arrival time jitter:
13 % RMS
200 pC 3kA (B.Beutner,Proceedings FEL2012 TUPD28,297-300,Nara,Japan(2012)
in front of 1st
undulator
Bunch
length
Impact of photocathode laser
Time jitter tolerance
drawn for laser at
cathode: 40 fs rms

## Slide 4
LAM layout
α-BBO
LAM setup
LAM
1.2 km
opt.path
Pulse picker +
transl. stage
oscillator
Alcor
amplifier
LAM corrects drifts
between amplifier
and oscillator

## Slide 5
Laser drift: 233 fs pp @ ∆T =0.025°C pp
drift Alcor, no feedback
drift: 9.2 ps/°C
zero drift/% humidity @1042 nm
drift 1.06 ps/mbar

## Slide 7
2016/17
2020
Improved Performance
S/N: 50x
background:
->0.3fs rms
slope:27x
well balanced
stability: 7x

## Slide 8
S-curve and jitter 2016-2017
S-curve and jitter 2020
Martha Sep.2016: jitter 32 fs rms
pulse jitter
Improved Performance

## Slide 9
Improved Performance
Laser shot synchronous data taking:
jitter(channel 1) - jitter(channel2) = 2*jitter(channel1)
and not
= √2 … 2*jitter(channel1)

## Slide 10
What is the total time jitter of Alcor ?
Oscillator jitter [2mHz – 100 Hz] : = 10 fs rms
Alcor total jitter [2mHz – 100 Hz] : = 11 fs rms
Alcor amplifier jitter [2mHz – 100 Hz] : = 4.5 fs rms

## Slide 11
There is no correlation between LAM and BAM if the LAM is in lock
LAM in lock
LAM free running

## Slide 12
Technology and reliability

## Slide 13
Important background reduction methods
Replacement of water chiller -> centrifugal pump
Avoid stress birefringence
Variable gain low noise photo-receiver
16-bit ADC
SMC-original chiller
ThermoTec chiller

## Slide 14
The 12.9 second oscillation problem: not fully understood but gone
Alcor July 2020
Mizar July 2020
gone since Sep. 2020

## Slide 15
Slip-Stick technology
Lifetime 1y 24/7
Piezo-Walk technology
Lifetime >3y 24/7
SLIP
SCAN
Much better translation stage

## Slide 16
Conclusion LAM performance
Alcor arrival time stab. is 4x better than demanded in the CD-Report
Impact on SwissFel arrival time is negligible
IOC crash -> controls
Trans. stage controler crash -> controls +
manufacturer + us

## Slide 17: Wir schaffen Wissen – heute für morgen
Thank you for your attention.
Acknowledgements:
Controls:
Edwin Divall
Gun laser:
Martha Divall (left)
Martin Huppert
Carlo Vicario
Alexandre Trisorio
T&S:
Albert Romann †
Vladimir Arsov
Cezary Sydlo
Florian Loehl