## Slide 1
Laser Heater Shaping Interferometer
Martin Huppert :: SwissFEL gun laser group :: Paul Scherrer Institute
SwissFEL Progress Meeting (SPM) 10.11.2020

## Slide 2
Motivation
Page 2
Temporal modulation of the LH effect
Selective spoiler  shape the e-beam properties
Generate phase locked FEL pulses
Laser pulse is structured via interferometry

## Slide 3
Optical Setup
Page 3
to LH
Alcor Laser s-pol
Polarizing Beam Splitter
l/2 waveplate: Adjust splitting ratio
Delay Stage (25 mm, 80 ps)
Shutter 1
Shutter 2
l/2 waveplate: Adjust fringe contrast
Camera
Spectrometer

## Slide 4
Beam path changes
Additional beam path: 150 mm (500 ps)
50 % pulse energy loss due to recombination
Each beam path is equipped with a shutter
«Normal» operation
Path one only can be used for “normal“ LH operation
Path two only can be used and gives additionally control over polarization and fine delay stage (Newport MFA-PPD, min. inc. motion: 100 nm, 0.6 fs)
Features of the interferometer
Spatial overlap can be adjusted with motorized mirrors mounts in path one.
There is a camera behind the recombination mirror and several cameras far away.
Temporal overlap can be checked with a spectrometer.
Implications on the LH setup
Page 4
2
1
1

## Slide 5
Setting of the second wave plate (s-pol)
Page 5
BS
E
Polarization is properly set

## Slide 6
Setting of the first wave plate (splitting ratio)
Page 6
1
2
Splitting ratio is properly set

## Slide 7
Spatial Profiles
Page 7
Spatial overlap is properly set
Interferometer output
Transfer line input

## Slide 8
Intensity on cameras (Integral)
Page 8
Fringe contrast close to 100 % for shorts delays
Delay stage has sufficient resolution

## Slide 9
Spectrum vs. Delay
Page 9
Resolution of the spectrometer limits the modulation depth of the fringes
For long delays it has to be tested how the chirp affects the fringe contrast
IR spectrum, no modulations
Spectral fringes as function of delay

## Slide 10
Page 10
Wir schaffen Wissen – heute für morgen
This work is a cross-functional collaboration between the Gun Laser Group and the Beam Dynamics Group.
Hardware is installed and ready to use on Alcor laser system.
Hardware is permanently installed, but can be bypassed for «normal» LH operation modes.
Machine beamtime can be scheduled with the Beam Dynamics group.
Acknowledgement:
Laser Group:
Alexandre Trisorio
Carlo Vicario
Andreas Dax
Beam Dynamics:
Eugenio Ferrari