## Slide 1: Photocatalytic mechanism of covalent bond formation in LOV flavoprotein
PI: Przemyslaw Nogly (ETHZ)

## Slide 2
Flavin (FMN/RF/FAD)
Blue light
Environment
Cytoplasm
wall
membrane
Intracellular signal
LOV = light-oxygen-voltage
LOV is a blue light sensor protein module
LOV (Sensor)
Effector
Two components systems
6700 proteins in databases
119 functional clusters
Notes: LOV stands for light-oxygen-voltage. It's a 14kDa protein module bearing a flavin molecule that will act as the translator of an incomming light signal into structural changes that will be transmitted to an effector module propagating the signal into the cell.
In general it happens through the release of an inactive form in the dark which then becomes active upon light illumination.

## Slide 3
1FMN
Cys
hν
Sγ
C4α
hν
𝜏 ~ 4 µs
𝜏 ~200s
LOV-390
LOV-447
FMN
C57
C4⍺
Sɣ
Photocatalytic bond formation
???
How protein guides the reaction?

## Slide 4
SFX Settings
Beam: 12 keV @ 500µJ
Rep rate: 100Hz
Spot size: 5x3 µm2
Detector: 4M Jungfrau (0.5 bar He)
Injector nozzle: 75 µm
Flow rate: 6.7 ul/min@100Hz
Laser Settings
Wavelength: 475 nm
Rep rate: 100 Hz (4:1 mode)
Spot size: ~40 m FWHM
Pulse length: ~800 fs
Pulse Energy: ~5.0 uJ (titration 2.5-10 uJ)
Time delays: 200 fs - 1 ms
-> Shot-To-Shot: 250 um @100Hz
-> Runtime per injector: 18 min per injector
-> 30k indexed patterns: 60 min at 30% hit rate
(diluted sample due to 80% hit rates)
Beamline settings 7th (4 pm) - 9th September
LOV

## Slide 5
- Total indexed diffraction images: 1 016 114 (hit rates 25%-80%)
- Pump laser power titration @ 2.5 µJ, 5.0 µJ, 7.5 µJ, 10 µJ
- 17 datasets @ 11 Δt from 10 ps to 1ms
Summary 7th - 9th September (40 hours)
LOV
500 ns
FMN - 1.50 Å resolution
11 Δt from 10 ps to 1ms
Cys
FMN
Covalent
bond
Δt = 20 µs; covalent thioether bond formation
& deformation of FMN planar geometry